## Anomalies
Start Time (UTC) | End Time (UTC) | Description
19 January 2026 - 03:13:31 | 28 January 2026 - 22:50 | On January 19th 2026, AIRS PV detector data began drifting and eventually saturated. The cause was discovered to be that DC restore commands, normally executed every 20 minutes, had stopped. The time of the stoppage coincided with a rollover of spacecraft time from 31 bits to 32 bits. The guard test on January 28 stopped and restarted the periodic DC Restore commands, which resumed their normal execution. The AIRS instrument itself remained fully operational throughout the anomaly. The detectors were not damaged during the incident.
31 March 2022 - 17:59:08 | 13 April 2022 | Aqua safing event. Power controller swapped to the redundant B side. AIRS was commanded to Standby mode although hardware state remained unchanged. AMSU-A1 scanners were powered off. AIRS returned to Operate mode April 7 at approximately 2022/097-17:25.
22 Feb 2022 - 07:43:01 | 23 Mar 2022 - 20:00:00 (approx.) | A segment of Aqua FMU/SSR memory was damaged, resulting in a small amount of AIRS high-rate data loss: about 19 seconds every two orbits, amounting to about 3 minutes of data loss per day. On March 23, Aqua performed a soft FMU reset and marked the affected memory as bad. On March 23 between about 16:12 and 20:00, AIRS high-rate data was shut off while the anomaly resolution was taking place.
16 August 2020-09:26:49 | 2 September 2020-20:00 (approx.) | On 16 August 2020, data played back from the Aqua Solid State Recorder (SSR) became corrupted. Science from all Aqua instruments was affected. Instrument health and S-band engineering telemetry was not affected. The cause appears to have been a single event upset (SEU). Some science data during the anomaly was recovered via Direct Broadcast (DB). The anomaly was corrected by performing a “soft reset” (i.e., power remained on and firmware was reloaded) of the Formatter / Multiplexer Unit (FMU) on 2 September 2020.
21 June 2018 - 15:50 | 19 June 2019 | AMSU-A1 Channel 14 response dropped suddenly by ~4K. Scene counts and calibrated Tb dropped. Space counts and warm counts did not change, suggesting that there was a change in the spectrometer but not in the radiometer. Analysis focused on the Channel 14 SAW filters, particularly the lower-frequency (316.2 - 319.2 MHz) filter, as a source of the anomaly. However, a definitive cause was not determined. Channel 14 recovered spontaneously (reported temperatures jumped back up by ~4K to nominal values) on June 19, 2019.
25 September 2016-03:25:00 | 27 September 2016-21:02:34 | On 25 September 2016, Cooler A unexpectedly shut down. The event was a repeat of the 22 March 2014 anomaly, and a similar cause (SEU) is suspected. During the recovery process Cooler B remained on, and the focal plane temperature rose to 70 K. Cooler A was successfully powered back on, and the instrument was commanded to OPERATE mode on 27 September, 2016.
2016-09-24 |  | On September 24, 2016 power to the AMSU-A2 instrument on Aqua was lost, and a series of attempts to restore it to normal operation were unsuccessful.
22 March 2014-05:42:00 | 29 March 2014-00:03:00 | On 22 March 2014, Cooler A unexpectedly shut down. It is believed that the shutdown was caused by an SEU, probably somewhere in the power supply amplifiers or caging circuitry. During the recovery process both coolers and the focal plane were powered off, and the focal plane warmed. The temperature cycling led to changes in detector noise properties. Both coolers and the focal plane were powered back on, and the instrument was commanded to OPERATE mode on March 29, 2014.
5 April 2013-19:09:29 | 6 April 2013-21:16:06 | AIRS data are unavailable due to an interruption to the flow of high-rate AIRS data through the Aqua spacecraft. The data flow resumed when the Aqua flight team disabled and enabled the TAXI port on Aqua.
8 February 2013-21:17:31 | 10 February 2013-01:16:33 | On February 8, 2013 the AIRS scanner suddenly went into “ShutDown” mode. Examination of telemetry indicated that the transition to “ShutDown” was not preceded by any changes in temperature, current or voltage. Thus, it appears an SEU (in the scanner electronics) caused by an energetic particle occurred. The scanner was restarted successfully and the AIRS instrument achieved normal operations at 20:49:19 UT on February 9. Normal data flow was initiated and the transition to “OPERATE” mode took place at 01:16:33 UT on February 10.
9 January 2010-09:45:40 | 26 January 2010-19:38:00 | At 09:45:40 UT on January 9, 2010 the AIRS 28-volt power supply for the Actuator Drive Module (ADM) dropped instantaneously to 0.8 volt. The ADM provides power and control for a number of AIRS components, including the calibration blackbody and the heater on the second stage radiator. Analysis of telemetry showed no evidence of failure of any components. After determining that the cause was an SEU caused by an energetic particle strike while over the South Atlantic Anomaly, procedures were developed and vetted to carefully bring AIRS back into operation. The turn-on sequence involved checking all major subsystems involved with the 28V power supply and evaluating science data prior to the release of the operational data stream, a time-consuming process. AIRS was brought back into operation on January 26, 2010.
7 November 2004-05:08:35 | 8 November 2004-00:14:08 | AIRS data are unavailable due to the scanner unexpectedly going into “Idle” mode and parking. It was determined that there had been a single event upset (SEU), believed to be due to a radiation hit, in the scanner control register. The scanner was re-started and AIRS resumed operations.
29 October 2003-02:00:00 | 6 November 2003-06:00:00 | AMSU data are unavailable due to the instrument being placed in safe mode following a very large solar flare and associated coronal mass ejection. The purpose was to guard against possible permanent damage caused by the expected large flux of high energy particles (including protons). The instrument was completely off except for its survival heaters.
29 October 2003-02:00:00 | 14 November 2003-21:01:00 | AIRS data are unavailable due to the instrument being placed in safe mode following a very large solar flare and associated coronal mass ejection. The purpose was to guard against possible permanent damage caused by the expected large flux of high energy particles (including protons). The instrument was completely off except for its survival heaters. Consequently, the AIRS instrument warmed. Upon restoration of power the instrument required prolonged cool-down and subsequent full recalibration of the spectral parameters.
5 February 2003-21:50 | N/A | HSB has not been operational since 5 February 2003 due to a failure in the scan motor electronics.
19 October 2002-17:03:5 | 22 October 2002-01:37:25 | AIRS data are unavailable due to a false overstroke trip by the AIRS cooler (likely caused by a radiation ‘hit’).
12 September 2002-13:15:00 | 12 September 2002-23:24 | Safing event. The AIRS/AMSU/HSB instrument suite did not collect data (all times are approximate to several minutes)
29 July 2002-14:14:13 | 30 August 2002-09:25:10 | AIRS data are unavailable because of instrument defrost activities and unexpected cooler shutdowns. (The shutdowns were apparently caused by ionizing radiation affecting the cooler electronics in the South Atlantic Anomaly.)
27 June 2002-15:40:30 | 28 June 2002- 20:36 | Safing event. The AIRS/AMSU/HSB instrument suite did not collect data (all times are approximate to several minutes)

## ThrusterBurn
AQUA Thruster Burn Table
Burn No. | Year/DOY | Date | Burn Start Time | AIRS READY MODE DURATION
(DMU = Drag Makeup; DAM = Debris Avoidance Mvr.; IAM = Inclination Adjust Mvr.)
DAM 167 | 2025/358 | 2025-12-24 | 1:18 | 01:13:09 – 03:00:02
DAM 166 | 2025/354 | 2025-12-20 | 11:58 | 11:52:42 – 13:39:35
DAM 165 | 2025/044 | 2025-02-13 | 0:27 | 00:22:15 – 02:08:08
DAM 164 | 2024/285 | 2024-10-11 | 7:01 | 06:56:22 – 08:43:15
DMU 163 (DAM #13) | 2022/314 | 2022-11-10 | 6:08 | 06:02:40 – 07:44:33
DAM (not executed but AIRS scanner parked) | 2022/064 | 2022-03-05 | No burn | 17:55:00 – 19:41:53
DMU 162 | 2021/335 | 2021-12-01 | 15:25 | 15:23:00 – 17:08:53
DMU 161 | 2021/294 | 2021-10-21 | 14:33 | 14:31:00 – 16:16:53
DMU 160 | 2021/259 | 2021-09-16 | 16:21 | 16:18:00 – 18:03:53
DMU 159 | 2021/238 | 2021-08-26 | 14:24 | 14:21:00 – 16:06:53
DMU 158 | 2021/182 | 2021-07-01 | 14:24 | 14:21:00 – 16:06:53
DMU 157 | 2021/146 | 2021-05-26 | 15:37 | 15:34:00 – 17:19:53
DMU 156 | 2021/125 | 2021-05-05 | 16:58 | 16:56:00 – 18:41:53
DMU 155 | 2021/104 | 2021-04-14 | 15:19 | 15:16:00 – 17:02:53
IAM 77 | 2021/077 | 2021-03-18 | 14:59 | 14:38:00 – 16:50:53
IAM 76 | 2021/070 | 2021-03-11 | 14:52 | 14:31:00 – 16:43:53
IAM 75 | 2021/063 | 2021-03-04 | 14:45 | 14:24:00 – 16:36:53
IAM 74 | 2021/056 | 2021-02-25 | 14:44 | 14:22:00 – 16:29:53
DMU 154 | 2021/021 | 2021-01-21 | 16:08 | 16:05:00 – 17:51:53
DMU 153 | 2020/352 | 2020-12-17 | 15:56 | 15:54:00 – 17:39:53
DMU 152 | 2020/323 | 2020-11-18 | 15:20 | 15:17:00 – 17:03:53
DMU 151 | 2020/296 | 2020-10-22 | 15:55 | 15:52:00 – 17:38:53
IAM 73 | 2020/261 | 2020-09-17 | 15:36 | 15:15:00 – 17:27:53
IAM 72 | 2020/254 | 2020-09-10 | 15:30 | 15:09:00 – 17:21:53
IAM 71 | 2020/233 | 2020-08-20 | 15:12 | 14:50:00 – 17:03:53
DMU 150 | 2020/219 | 2020-08-06 | 14:00 | 13:57:00 – 15:43:53
DMU 149 | 2020/191 | 2020-07-09 | 16:02 | 15:59:00 – 17:45:53
Thruster Test Fire | 2020/183 | 2020-07-01 | 15:24 | 15:22:00 – 18:12:53
DMU 148 | 2020/149 | 2020-05-28 | 15:57 | 15:54:00 – 17:39:53
DMU 147 | 2020/135 | 2020-05-14 | 15:45 | 15:43:00 – 17:28:53
IAM 70 | 2020/093 | 2020-04-02 | 16:26 | 16:05:00 – 18:17:53
IAM 69 | 2020/086 | 2020-03-26 | 16:20 | 15:58:00 – 18:11:53
IAM 68 | 2020/072 | 2020-03-12 | 16:06 | 15:45:00 – 17:57:53
IAM 67 | 2020/065 | 2020-03-05 | 15:59 | 15:38:00 – 17:50:53
DMU 146 | 2020/036 | 2020-02-05 | 16:52 | 16:49:00 – 18:34:53
DMU 145 | 2020/008 | 2020-01-08 | 15:07 | 15:04:00 – 16:49:53
DMU 144 | 2019/339 | 2020-12-05 | 15:51 | 15:48:00 – 17:34:53
IAM Reaction Wheel Test | 2019/318 | 2020-11-14 | 15:54 | 15:33:00 – 18:22:53
DMU 143 | 2019/310 | 2020-11-06 | 16:37 | 16:35:00 – 18:20:53
IAM 66 | 2019/275 | 2020-10-02 | 16:18 | 16:05:00 – 18:22:53
DMU 142 (DAM #12) | 2019/254 | 2020-09-11 | 14:03 | 13:57:49 – 15:44:42
DMU 141 | 2019/226 | 2020-08-14 | 15:08 | 15:05:00 – 16:50:53
DMU 140 | 2019/198 | 2020-07-17 | 14:59 | 14:56:00 – 16:42:53
DMU 139 | 2019/170 | 2020-06-19 | 15:07 | 15:04:00 – 16:49:53
DMU 138 | 2019/143 | 2020-05-23 | 14:05 | 14:02:00 – 15:48:53
DMU 137 | 2019/114 | 2020-04-24 | 15:09 | 15:06:00 – 16:52:53
IAM 65 | 2019/101 | 2020-04-11 | 14:31 | 14:18:00 – 16:35:53
IAM 64 | 2019/094 | 2020-04-04 | 16:03 | 15:50:00 – 18:07:53
IAM 63 | 2019/073 | 2020-03-14 | 15:42 | 15:29:00 – 17:46:53
IAM 62 | 2019/066 | 2020-03-07 | 15:35 | 15:22:00 – 17:39:53
DMU 136 | 2019/044 | 2020-02-13 | 14:55 | 14:52:00 – 16:38:53
DMU 135 | 2019/016 | 2020-01-16 | 14:49 | 14:46:00 – 16:32:53
DMU 134 | 2018/347 | 2020-12-13 | 15:32 | 15:29:00 – 17:14:53
DMU 133 | 2018/319 | 2020-11-15 | 15:23 | 15:20:00 – 17:06:53
DMU 132 | 2018/269 | 2020-09-26 | 14:48 | 14:46:00 – 16:31:53
IAM 61 | 2018/214 | 2020-08-02 | 15:48 | 15:35:00 – 17:52:53
DMU 131 (DAM #11) | 2018/193 | 2020-07-12 | 1:34 | 01:29:00 – 03:15:53
DMU 130 | 2018/171 | 2020-06-20 | 15:41 | 15:38:00 – 17:24:53
DMU 129 | 2018/143 | 2020-05-23 | 14:27 | 14:24:00 – 16:10:53
DMU 128 | 2018/122 | 2020-05-02 | 14:58 | 14:56:00 – 16:41:53
IAM 60 | 2018/109 | 2020-04-19 | 15:52 | 15:40:00 – 17:57:53
IAM 59 | 2018/088 | 2020-03-29 | 15:32 | 15:19:00 – 17:36:53
IAM 58 | 2018/074 | 2020-03-15 | 15:18 | 15:05:00 – 17:22:53
IAM 57 | 2018/067 | 2020-03-08 | 15:11 | 14:58:00 – 17:15:53
IAM 56 | 2018/060 | 2020-03-01 | 15:03 | 14:50:00- 17:09:53
DMU 127 | 2018/046 | 2020-02-15 | 15:14 | 15:12:00 – 16:57:53
DMU 126 | 2018/018 | 2020-01-18 | 15:10 | 15:07:00 – 16:53:53
DMU 125 | 2017/347 | 2020-12-13 | 16:21 | 16:18:00 – 18:04:53
DMU 124 | 2017/312 | 2020-11-08 | 14:41 | 14:38:00 – 16:24:53
DMU 123 | 2017/291 | 2020-10-18 | 14:25 | 14:22:00 – 16:07:53
DMU 122 | 2017/257 | 2020-09-14 | 16:22 | 16:17:30 – 18:02:23
DMU 121 | 2017/235 | 2020-08-23 | 14:33 | 14:30:00 – 16:15:53
DMU 120 | 2017/208 | 2020-07-27 | 15:41 | 15:38:00 – 17:24:53
DMU 119 | 2017/179 | 2020-06-28 | 15:22 | 15:19:00 – 17:05:53
DMU 118 | 2017/130 | 2020-05-10 | 15:29 | 15:26:00 – 17:12:53
DMU 117 | 2017/103 | 2020-04-13 | 14:58 | 14:55:00 – 16:41:53
IAM 55 | 2017/088 | 2020-03-29 | 16:02 | 15:49:00 – 18:06:53
IAM 54 | 2017/081 | 2020-03-22 | 15:55 | 15:42:00 – 17:59:53
IAM 53 | 2017/067 | 2020-03-08 | 14:02 | 13:49:00 – 16:06:53
IAM 52 | 2017/060 | 2020-03-01 | 13:55 | 13:42:00 – 15:59:53
DMU 116 | 2017/040 | 2020-02-09 | 15:01 | 14:58:00 – 16:44:53
DMU 115 | 2017/012 | 2020-01-12 | 15:07 | 15:04:00 – 16:50:53
DMU 114 | 2016/349 | 2020-12-14 | 15:45 | 15:42:00 – 17:28:53
DMU 113 | 2016/321 | 2020-11-16 | 14:32 | 14:30:00 – 16:16:53
DMU 112 | 2016/293 | 2020-10-19 | 14:59 | 14:56:00 – 16:42:53
DMU 111 | 2016/266 | 2020-09-22 | 16:05 | 16:02:00 – 17:48:53
DMU 110 | 2016/238 | 2020-08-25 | 14:50 | 14:47:00 – 16:33:53
DMU 109 | 2016/203 | 2020-07-21 | 15:10 | 15:07:00 – 16:53:53
DMU 108 | 2016/181 | 2020-06-29 | 16:36 | 16:34:00 – 18:19:53
DMU 107 | 2016/146 | 2020-05-25 | 16:55 | 16:52:00 – 18:38:53
IAM 51 | 2016/110 | 2020-04-19 | 15:16 | 15:03:00 – 17:20:53
IAM 50 | 2016/097 | 2020-04-06 | 15:45 | 15:32:00 – 17:49:53
IAM 49 | 2016/076 | 2020-03-16 | 15:23 | 15:11:00 – 17:25:53
IAM 48 | 2016/069 | 2020-03-09 | 15:15 | 15:04:00 – 17:18:53
DMU 106 | 2016/042 | 2020-02-11 | 15:01 | 14:58:00 – 16:44:53
DMU 105 | 2016/007 | 2020-01-07 | 16:37 | 16:34:00 – 18:20:53
DMU 104 | 2015/350 | 2020-12-16 | 13:50 | 13:48:00 – 17:13:53
DMU 103 | 2015/324 | 2020-11-20 | 15:26 | 15:23:00 – 17:09:53
DMU 102 | 2015/288 | 2020-10-15 | 15:02 | 14:59:00 – 16:45:53
DMU 101 | 2015/268 | 2020-09-25 | 15:59 | 15:57:00 – 17:42:53
DMU 100 | 2015/246 | 2020-09-03 | 14:58 | 14:55:00 – 16:41:53
DMU 99 | 2015/210 | 2020-07-29 | 15:22 | 15:20:00 – 17:05:53
DMU 98 | 2015/183 | 2020-07-02 | 15:19 | 15:17:00 – 17:02:53
DMU 97 | 2015/142 | 2020-05-22 | 16:25 | 16:22:00 – 18:08:53
IAM 47 | 2015/112 | 2020-04-22 | 15:33 | 15:22:00 – 17:36:53
IAM 46 | 2015/105 | 2020-04-15 | 15:26 | 15:15:00 – 17:29:53
IAM 45 | 2015/091 | 2020-04-01 | 15:12 | 15:01:00 – 17:15:53
IAM 44 | 2015/084 | 2020-03-25 | 16:44 | 16:30:45 – 18:47:53
IAM 43 | 2015/077 | 2020-03-18 | 16:37 | 16:23:45 – 18:40:53
DMU 96 | 2015/057 | 2020-02-26 | 15:32 | 15:29:00 – 17:16:53
DMU 95 | 2015/035 | 2020-02-04 | 16:33 | 16:30:00 – 18:16:53
DMU 94 | 2015/007 | 2020-01-07 | 15:20 | 15:17:00 – 17:03:53
DMU 93 | 2014/351 | 2020-12-17 | 15:47 | 15:45:00 – 17:30:53
DMU 92 | 2014/337 | 2020-12-03 | 16:24 | 16:22:00 – 18:07:53
DMU 91 | 2014/316 | 2020-11-12 | 15:14 | 15:11:00 – 16:57:53
DMU 90 (DAM #10) | 2014/293-294 | Oct 20-21 | 1:50 | 23:44:35 – 03:52:29
DMU 89 | 2014/281 | 2020-10-08 | 14:45 | 14:12:00 – 16:28:53
DMU 88 | 2014/260 | 2020-09-17 | 16:06 | 14:58:00 – 17:49:53
DMU 87 | 2014/239 | 2020-08-27 | 15:57 | 15:14:00 – 17:40:53
DMU 86 | 2014/204 | 2020-07-23 | 15:07 | 14:43:00 – 16:50:53
DMU 85 | 2014/177 | 2020-06-26 | 15:24 | 14:57:00 – 17:07:53
DMU 84 | 2014/149 | 2020-05-29 | 15:19 | 14:38:00 – 17:03:53
DMU 83 | 2014/114 | 2020-04-24 | 16:21 | 15:48:00 – 18:04:53
DMU 82 | 2014/099 | 2020-04-09 | 15:42 | 14:06:00 – 16:58:53
IAM 42 | 2014/091 | 2020-04-01 | 15:43 | 15:31:00 – 17:46:53
IAM 41 | 2014/084 | 2020-03-25 | 15:36 | AIRS in Standby mode due to cooler anomaly
IAM 40 | 2014/077 | 2020-03-18 | 15:29 | 15:17:00 – 17:32:53
IAM 39 | 2014/070 | 2020-03-11 | 15:22 | 15:10:00 – 17:25:53
DMU 81 | 2014/066 | 2020-03-07 | 16:35 | 15:48:00 – 18:18:53
DMU 80 | 2014/036 | 2020-02-05 | 16:32 | 15:33:00 – 18:15:53
DMU 79 | 2014/014 | 2020-01-14 | 18:35 | 17:46:00 – 20:18:53
DMU 78 | 2013/352 | 2020-12-18 | 15:12 | 14:31:00 – 16:55:53
DMU 77 (DAM #9) | 2013/331-332 | Nov 27-28 | 0:18 | 23:33:43 – 02:48:30
DMU 76 (DAM #8) | 2013/297-298 | Oct 24-25 | 2:02 | 23:41:04 – 03:54:33
DMU 75 | 2013/296 | 2020-10-23 | 15:09 | 14:43:00 – 16:52:53
DMU 74 | 2013/248 | 2020-09-05 | 15:36 | 14:03:00 – 17:19:53
DMU 73 | 2013/205 | 2020-07-24 | 15:54 | 14:23:00 – 17:37:53
DMU 72 | 2013/171 | 2020-06-20 | 14:34 | 13:43:00 – 16:16:53
DMU 71 | 2013/135 | 2020-05-15 | 14:45 | 14:11:00 – 16:28:53
IAM 38 | 2013/127 | 2020-05-07 | 15:53 | 15:41:00 – 17:56:53
IAM 37 | 2013/120 | 2020-04-30 | 15:46 | 15:35:00 – 17:49:53
IAM 36 | 2013/106 | 2020-04-16 | 15:33 | 15:21:00 – 17:36:53
IAM 35 | 2013/099 | 2020-04-09 | 15:26 | 15:14:00 – 17:29:53
DMU 70 (DAM #7) | 2013/082 | 2020-03-23 | 10:35 | 08:49:55 – 12:19:08
DMU 69 (DAM #6) | 2013/069 | 2020-03-10 | 16:31 | 16:27:00 – 18:13:53
DMU 68 | 2013/045 | 2020-02-14 | 16:30 | 16:27:00 – 18:13:53
DMU 67 | 2013/025 | 2020-01-25 | 16:02 | 15:59:00 – 17:45:53
DMU 66 | 2012/354 | 2020-12-19 | 15:10 | 15:07:00 – 16:53:53
DMU 65 | 2012/333 | 2020-11-28 | 14:48 | 14:03:00 – 16:31:53
DMU 64 | 2012/313 | 2020-11-08 | 15:00 | 14:34:00 – 16:44:53
DMU 63 | 2012/271 | 2020-09-27 | 15:48 | 15:23:00 – 17:31:53
DMU 62 | 2012/257 | 2020-09-13 | 15:44 | 15:18:00 – 17:27:53
DMU 61 | 2012/222 | 2020-08-09 | 15:12 | 14:48:00 – 16:55:53
DMU 60 | 2012/173 | 2020-06-21 | 16:45 | 15:43:00 – 18:28:53
DMU 59 | 2012/145 | 2020-05-24 | 14:01 | 13:41:00 – 15:44:53
IAM 34 | 2012/129 | 2020-05-08 | 15:28 | 15:16:00 – 17:31:53
IAM 33 | 2012/122 | 2020-05-01 | 15:21 | 15:09:00 – 17:24:53
IAM 32 | 2012/115 | 2020-04-24 | 15:15 | 15:03:00 – 17:18:53
IAM 31 | 2012/108 | 2020-04-17 | 15:08 | 14:56:00 – 17:11:53
DMU 58 | 2012/074 | 2020-03-14 | 15:38 | 15:13:00 – 17:20:53
DMU 57 | 2012/025 | 2020-01-25 | 15:00 | 14:28:00 – 16:42:53
DMU 56 | 2011/354 | 2020-12-20 | 15:24 | 14:53:00 – 17:08:53
DMU 55 | 2011/340 | 2020-12-06 | 15:21 | 14:43:00 – 17:03:53
DMU 54 | 2011/321 | 2020-11-17 | 14:42 | 14:09:00 – 16:24:53
DMU 53 | 2011/298 | 2020-10-25 | 14:27 | 14:03:00 – 16:09:53
DMU 52 | 2011/272 | 2020-09-29 | 15:39 | 14:28:00 – 17:21:53
DMU 51 | 2011/243 | 2020-08-31 | 16:09 | 15:40:00 – 17:51:53
DMU 50 (DAM #5) | 2011/173 | 2020-06-22 | 15:01 | 13:42:00 - 16:42:53
DMU 49 | 2011/159 | 2020-06-08 | 14:49 | 13:32:00 – 16:41:53
DMU 48 | 2011/110 | 2020-04-20 | 15:18 | 14:28:00 – 17:01:53
IAM 30 | 2011/095 | 2020-04-05 | 16:08 | 15:56:00 – 18:11:53
IAM 29 | 2011/088 | 2020-03-29 | 16:01 | 15:49:00 – 18:03:53
IAM 28 | 2011/081 | 2020-03-22 | 15:54 | 15:42:00 – 17:56:53
DMU 47 (DAM #4) | 2011/060 | 2020-03-01 | 14:18 | 13:38:00 – 15:59:53
DMU 46 (DAM #3) | 2011/039 | 2020-02-08 | 2:45 | 01:08:00 – 04:11:53
DMU 45 (DAM #2) | 2011/002 | 2020-01-02 | 15:43 | 14:38:00 – 17:25:53
DMU 44 | 2010/321 | 2020-11-17 | 16:44 | 16:18:00 – 18:26:50
DMU 43 | 2010/272 | 2020-09-29 | 14:42 | 13:58:00 – 16:42:50
DMU 42 | 2010/208 | 2020-07-27 | 15:34 | 14:43:00 – 17:16:50
DMU 41 | 2010/105 | 2020-04-15 | 15:27 | 14:43:00 – 17:09:50
IAM 27 | 2010/082 | 2020-03-23 | 15:31 | 15:19:00 – 17:33:53
IAM 26 | 2010/075 | 2020-03-16 | 15:24 | 15:12:00 – 17:26:53
IAM 25 | 2010/068 | 2020-03-09 | 15:17 | 15:05:00 – 17:19:53
DMU 40 | 2010/028 | 2020-01-28 | 15:10 | 14:28:00 – 16:51:50
DMU 39 (DAM #1) | 2009/329 | 2020-11-25 | 15:08 | 14:23:00 – 16:50:50
DMU 38 | 2009/322 | 2020-11-18 | 16:17 | 15:51:00 – 17:59:50
DMU 37 | 2009/218 | 2020-08-06 | 15:30 | 15:08:00 – 17:10:50
IAM 24 | 2009/119 | 2020-04-29 | 14:49 | 14:36:00 – 16:50:50
IAM 23 | 2009/113 | 2020-04-23 | 15:25 | 15:13:00 – 17:27:50
IAM 22 | 2009/111 | 2020-04-21 | 15:37 | 15:25:00 – 17:39:50
IAM 21 | 2009/098 | 2020-04-08 | 16:07 | 15:55:00 – 18:09:50
IAM 20 | 2009/092 | 2020-04-02 | 15:05 | 14:52:00 – 17:07:50
IAM 19 | 2009/090 | 2020-03-31 | 15:17 | 15:04:00 – 17:19:50
IAM 18 | 2009/077 | 2020-03-18 | 15:46 | 15:34:00 – 17:48:50
IAM 17 | 2009/071 | 2020-03-12 | 14:43 | 14:31:00 – 16:46:50
IAM 16 | 2009/069 | 2020-03-10 | 14:55 | 14:43:00 – 16:57:50
DMU 36 | 2008/339 | 2020-12-04 | 15:10 | 14:50:00 – 16:51:50
DMU 35 | 2008/289 | 2020-10-15 | 15:20 | 14:58:00 – 17:01:50
DMU 34 | 2008/206 | 2020-07-24 | 14:50 | 14:28:00 – 16:31:50
DMU 33 | 2008/114 | 2020-04-23 | 16:03 | 15:43:00 – 18:31:50
DMU 32 | 2008/009 | 2020-01-09 | 16:00 | 15:38:00 – 18:28:50
DMU 31 | 2007/313 | 2020-11-09 | 15:35 | 14:42:00 – 17:36:50
DMU 30 | 2007/193 | 2020-07-12 | 14:35 | 13:53:00 – 16:36:50
IAM 15 | 2007/128 | 2020-05-08 | 16:36 | 16:23:00 – 18:38:50
IAM 14 | 2007/115 | 2020-04-25 | 15:27 | 15:14:00 – 17:29:50
IAM 13 | 2007/101 | 2020-04-11 | 15:13 | 15:02:00 – 17:17:53
IAM 12 | 2007/073 | 2020-03-14 | 16:24 | 16:12:00 – 18:14:50
DMU 29 | 2007/004 | 2020-01-04 | 16:20 | 16:03:00 - 18:01:50
DMU 28 | 2006/319 | 2020-11-15 | 15:19 | 14:47:00 - 17:18:50
IAM 11 | 2006/255 | 2020-09-12 | 16:19 | 16:08:00 – 18:21:50
IAM 10 | 2006/250 | 2020-09-07 | 16:01 | 15:50:00 – 18:06:50
IAM 9 | 2006/241 | 2020-08-29 | 16:08 | 15:57 – 18:12
IAM 8 | 2006/234 | 2020-08-22 | 16:08 | 15:51 – 18:12
DMU 27 | 2006/165 | 2020-06-14 | 14:22 | 13:58:00 - 16:03:50
Test of Thruster Suspend & Thruster Resume sequences | 2006/150 | 2020-05-30 | No burn | 20:54:00 – 20:59:53
DMU 26 | 2006/109 | 2020-04-19 | 15:33 | 14:48:00 - 17:29:50
DMU 25 | 2006/032 | 2020-02-01 | 15:41 | 15:18:00 - 17:22:50
DMU 24 | 2005/342 | 2020-12-08 | 15:26 | 14:17:00 - 17:07:50
DMU 24 aborted | 2005/335 | 2020-12-01 | N/A | 14:03:00 - 16:51:50
DMU 23 | 2005/279 | 2020-10-06 | 16:05 | 14:55:00 - 17:51:50
DMU 22 | 2005/215 | 2020-08-03 | 16:40 | 15:52:00 - 18:31:50
DMU 21 | 2005/133 | 2020-05-13 | 16:20 | 15:50:00 - 18:01:50
DMU 21 aborted | 2005/131 | 2020-05-11 | N/A | 14:40:00 - 17:21:50
DMU 20 | 2005/061 | 2020-03-02 | 17:47 | 16:58:00 - 19:28:50
DMU 19 | 2005/012 | 2020-01-12 | 18:33 | 17:46:00 - 20:26:50
DMU 18 | 2004/323 | 2020-11-18 | 15:32 | 14:30:00 - 17:17:00
IAM 7 | 2004/286 | 2020-10-12 | 15:50 | 15:36 – 17:56
IAM 6 | 2004/279 | 2020-10-05 | 15:44 | 15:35 – 17:47
IAM 5 | 2004/272 | 2020-09-28 | 15:39 | 15:25 – 17:47
IAM 4 | 2004/265 | 2020-09-21 | 15:34 | 15:15 – 17:42
IAM 3 | 2004/258 | 2020-09-14 | 15:28 | 15:15 – 17:22
DMU 17 | 2004/218 | 2020-08-05 | 10:32 | 9:44:00 - 12:13:48
DMU 16 | 2004/174 | 2020-06-22 | 20:46 | 19:05 - 22:31:48
DMU 15 | 2004/112 | 2020-04-21 | 15:49 | 14:44 - 17:31:48
IAM 2 | 2004/091 | 2020-03-31 | 15:20 | 15:05 – 17:16
DMU 14 | 2004/021 | 2020-01-21 | 16:00 | 15:00 - 17:46:33
DMU 13 | 2003/351 | 2020-12-17 | 17:10 | 17:06 - 19:31:33
DMU 12 | 2003/309 | 2020-11-05 | 15:00 | Not recovered from safe mode 10/29 – 11/6
IAM 1 | 2003/280 | 2020-10-07 | 15:17 | 15:04 – 17:33:35
IAM 1 rehearsal | 2003/224 | 2020-08-12 | No burn | 12:40:30 – 14:58:33
DMU 11 | 2003/163 | 2020-06-12 | 15:47 | 14:55:21 - 17:30:33
DMU 10 | 2003/114 | 2020-04-24 | 16:50 | 15:59 - 18:38:35
DMU 9 | 2003/078 | 2020-03-19 | 16:15 | 15:25 - 18:03:35
DMU 8 | 2003/030 | 2020-01-30 | 21:26 | 19:22:55 - 23:02:05
DMU 7 | 2003/003 | 2020-01-03 | 15:55 | 15:00 - 17:38:40
DMU 6 | 2002/346 | 2020-12-12 | 15:40 | 14:30:25 - 17:26:35
DMU 5 | 2002/316 | 2020-11-12 | 15:41 | 14:20 - 17:26:40
DMU 4 | 2002/290 | 2020-10-17 | 15:38 | 14:34:50 – 17:21:35
DMU 3 | 2002/259 | 2020-09-16 | 14:58 | 13:02 - 16:48
DMU 2 | 2002/234 | 2020-08-22 | 15:32 | 13:44 – 15:32
DMU 1 | 2002/192 | 2020-07-11 | 15:08 | 11:34 – 17:35

## MLC_Guard
AIRS Ready/Operate Times due to MODIS lunar cal roll Maneuvers
Year/DOY | Date | Guard Test CheckOut | Guard Test Operate | Ready (UT) | Operate (UT)
2026/118 | 2026-04-28 | 116/21:06:00 | 116/21:33:00 | 17:47 | 18:04
2026/090 | 2026-03-31 | 088/22:58:00 | 088/23:25:00 | 9:30 | 9:55
2026/059 | 2026-02-28 | 060/21:30:00 | 060/21:57:00 | 19:01 | 19:22
2026/030 | 2026-01-30 | 028/22:23:00 | 028/22:50:00 | 8:35 | 8:59
2025/365 | 2025-12-31 | 363/22:23:00 | 363/22:50:00 | 20:31 | 20:52
2025/337 | 2025-12-03 | 335/22:58:00 | 335/23:25:00 | 14:11 | 14:37
2025/308 | 2025-11-04 | 306/22:23:00 | 306/22:50:00 | 3:54 | 4:18
2025/277 | 2025-10-04 | 175/22:48:00 | 175/23:15:00 | 17:04 | 17:27
2025/249 | 2025-09-06 | 247/22:04:00 | 247/22:31:00 | No spacecraft roll
2025/219 | 2025-08-07 | 217/22:20:00 | 217/22:47:00 | No spacecraft roll
2025/189 | 2025-07-08 | 187/22:35:00 | 187/23:02:00 | No spacecraft roll
2025/159 | 2025-06-08 | 157/22:48:00 | 157/23:15:00 | 1:22 | 1:50
2025/129 | 2025-05-09 | 127/21:21:00 | 127/21:48:00 | 14:38 | 15:02
2025/099 | 2025-04-09 | 097/23:09:00 | 097/23:36:00 | 22:50 | 23:13
2025/069 | 2025-03-10 | 067/21:34:00 | 067/22:01:00 | 9:31 | 9:52
2025/039 | 2025-02-08 | 037/21:34:00 | 037/22:01:00 | 22:35 | 22:59
2025/010 | 2025-01-10 | 008/22:09:00 | 008/22:36:00 | 11:40 | 12:01
2024/347 | 2024-12-12 | 345/22:40:00 | 345/23:07:00 | 20:32 | 20:54
2024/318 | 2024-11-13 | 316/23:07:00 | 316/23:34:00 | 11:18 | 11:39
2024/288 | 2024-10-14 | 286/21:07:00 | 286/21:34:00 | 14:27 | 14:52
2024/258 | 2024-09-14 | 258/22:02:00 | 258/22:29:00 | No spacecraft roll
2024/228 | 2024-08-15 | 228/21:29:00 | 228/21:56:00 | No spacecraft roll
2024/199 | 2024-07-17 | 197/21:48:00 | 197/22:15:00 | No spacecraft roll
2024/170 | 2024-06-18 | 168/21:47:00 | 168/22:14:00 | 8:36 | 9:04
2024/140 | 2024-05-19 | 138/21:01:00 | 138/21:28:00 | 17:40 | 18:03
2024/110 | 2024-04-19 | 108/21:51:00 | 108/22:19:00 | 23:14 | 23:35
2024/080 | 2024-03-20 | 078/22:35:00 | 078/23:02:00 | 15:31 | 15:54
2024/051 | 2024-02-20 | 049/22:20:00 | 049/22:47:00 | 0:22 | 0:47
2024/021 | 2024-01-21 | 019/21:20:00 | 019/21:47:00 | 9:14 | 9:36
2023/357 | 2023-12-23 | 355/22:37:00 | 355/23:04:00 | 9:01 | 9:21
2023/328 | 2023-11-24 | 326/22:07:00 | 326/22:34:00 | 16:57 | 17:22
2023/298 | 2023-10-25 | 296/22:42:00 | 296/23:09:00 | 11:07 | 11:32
2023/270 | 2023-09-27 | 268/22:53:00 | 268/23:20:00 | No spacecraft roll
2023/239 | 2023-08-27 | 237/22:34:00 | 237/23:01:00 | No spacecraft roll
2023/209 | 2023-07-28 | 207/21:16:00 | 207/21:43:00 | No spacecraft roll
2023/180 | 2023-06-29 | 178/22:17:00 | 178/22:44:00 | 17:23 | 17:51
2023/151 | 2023-05-31 | 149/21:37:00 | 149/22:04:00 | 5:08 | 5:31
2023/121 | 2023-05-01 | 119/21:52:00 | 119/22:19:00 | 13:26 | 13:47
2023/091 | 2023-04-01 | 089/22:05:00 | 089/22:32:00 | 18:24 | 18:48
2023/061 | 2023-03-02 | 059/22:14:00 | 059/22:41:00 | 23:24 | 23:50
2023/032 | 2023-02-01 | 030/21:22:00 | 030/21:49:00 | 4:24 | 4:49
2023/001 | 2023-01-01 | 364/22:20:00 | 364/22:47:00 | 23:36 | 23:48
2022/337 | 2022-12-03 | 335/21:24:00 | 335/21:51:00 | 21:15 | 21:31
2022/308 | 2022-11-04 | 306/22:05:00 | 306/22:32:00 | 8:53 | 9:17
2022/279 | 2022-10-06 | 277/21:07:00 | 277/21:34:00 | No spacecraft roll
2022/249 | 2022-09-06 | 247/21:03:00 | 247/21:31:00 | No spacecraft roll
2022/220 | 2022-08-08 | 218/21:42:00 | 218/22:09:00 | No spacecraft roll
2022/190 | 2022-07-09 | 188/10:03:00 | 188/10:30:00 | 18:23 | 18:50
2022/161 | 2022-06-10 | 159/22:11:00 | 159/22:38:00 | 12:21 | 12:43
2022/132 | 2022-05-12 | 130/21:08:00 | 130/21:35:00 | 1:14 | 1:33
2022/102 | 2022-04-12 | 100/22:38:00 | 100/23:05:00 | No spacecraft roll
2022/072 | 2022-03-13 | 070/20:49:00 | 070/21:16:00 | 15:25 | 15:50
2022/042 | 2022-02-11 | 040/22:17:00 | 040/22:44:00 | 18:30 | 18:53
2022/022 | 2022-01-12 | 010/22:15:00 | 010/22:42:00 | 23:20 | 23:37
2021/349 | 2021-12-15 | 347/21:40:00 | 347/22:07:00 | No spacecraft roll
2021/318 | 2021-11-14 | 317/08:16:00 | 317/08:43:00 | 14:09 | 14:30
2021/289 | 2021-10-16 | 287/22:53:00 | 287/23:20:00 | 6:24 | 6:53
2021/261 | 2021-09-18 | 259/22:29:00 | 259/22:56:00 | No spacecraft roll
2021/230 | 2021-08-18 | 228/21:33:00 | 228/22:00:00 | No spacecraft roll
2021/200 | 2021-07-19 | 198/21:21:00 | 198/21:48:00 | 14:54 | 15:20
2021/171 | 2021-06-20 | 169/21:51:00 | 169/22:18:00 | 20:16 | 20:39
2021/142 | 2021-05-22 | 140/22:22:00 | 140/22:49:00 | 14:04 | 14:23
2021/113 | 2021-04-23 | 111/21:14:00 | 111/21:41:00 | 4:29 | 4:50
2021/083 | 2021-03-24 | 081/21:02:00 | 081/21:29:00 | 14:02 | 14:25
2021/053 | 2021-02-22 | 051/20:50:00 | 051/21:17:00 | 22:01 | 22:25
2021/024 | 2021-01-24 | 022/21:26:00 | 022/21:53:00 | 2:48 | 3:07
2020/357 | 2020-12-22 | 355/22:16:00 | 355/22:43:00 | 20:14 | 20:42
2020/330 | 2020-11-25 |  |  | 7:46 | 8:04
2020/328 | 2020-11-23 | 326/21:08:00 | 326/21:35:00 | 5:48 | 6:12
2020/301 | 2020-10-27 | 299/21:26:00 | 299/21:53:00 | 0:00 | 0:27
2020/270 | 2020-09-26 | 268/20:31:00 | 210/20:58:00 | No spacecraft roll
2020/212 | 2020-07-30 | 210/21:33:00 | 210/22:00:00 | No spacecraft roll
2020/182 | 2020-06-30 |  |  | 23:04 | 23:29
2020/180 | 2020-06-28 | 178/21:33:00 | 178/22:00:00 | 21:10 | 21:37
2020/153 | 2020-06-01 | 151/20:13:00 | 151/20:40:00 | 18:34 | 18:53
2020/124 | 2020-05-03 | 122/20:44:00 | 122/21:11:00 | 13:57 | 14:16
2020/095 | 2020-04-04 |  |  | 4:25 | 4:47
2020/093 | 2020-04-02 | 091/21:27:00 | 091/21:54:00 | 8:18 | 8:46
2020/065 | 2020-03-05 | 063/21:02:00 | 063/21:29:00 | 20:37 | 21:01
2020/036 | 2020-02-05 | 034/21:33:00 | 034/22:00:00 | 3:00 | 3:21
2020/006 | 2020-01-06 | 004/19:42:00 | 004/20:09:00 | 9:31 | 9:46
2019/341 | 2019-12-07 | 339/21:08:00 | 339/21:35:00 | 12:52 | 13:06
2019/311 | 2019-11-07 | 309/20:56:00 | 309/21:23:00 | 22:34 | 22:58
2019/282 | 2019-10-09 | 280/23:06:00 | 280/23:33:00 | 6:37 | 7:05
2019/253 | 2019-09-10 | 251/20:19:00 | 251/20:46:00 | No spacecraft roll
2019/222 | 2019-08-10 | 220/21:02:00 | 220/21:29:00 | No spacecraft roll
2019/193 | 2019-07-12 | 191/21:33:00 | 191/22:00:00 | 5:09 | 5:35
2019/163 | 2019-06-12 | 161/19:42:00 | 161/20:09:00 | 23:01 | 23:23
2019/134 | 2019-05-14 | 132/21:52:00 | 132/22:19:00 | 16:48 | 17:07
2019/105 | 2019-04-15 | 103/20:44:00 | 103/21:11:00 | 10:33 | 10:53
2019/076 | 2019-03-17 | 074/21:15:00 | 074/21:42:00 | 2:44 | 3:06
2019/046 | 2019-02-15 | 044/21:02:00 | 044/21:29:00 | 17:20 | 17:41
2019/017 | 2019-01-17 | 015/21:33:00 | 015/22:00:00 | 4:44 | 5:01
2018/354 | 2018-12-20 | 352/21:08:00 | 352/21:35:00 | 1:03 | 1:31
2018/323 | 2018-11-19 | 321/20:13:00 | 321/20:40:00 | 2:03 | 2:24
2018/293 | 2018-10-20 | 291/21:39:00 | 291/22:06:00 | 10:06 | 10:33
2018/263 | 2018-09-20 | 261/21:27:00 | 261/21:54:00 | 8:18 | 8:47
2018/233 | 2018-08-21 | 231/21:15:00 | 231/21:42:00 | 3:14 | 3:42
2018/203 | 2018-07-22 | 201/21:02:00 | 201/21:29:00 | 19:28 | 19:55
2018/174 | 2018-06-23 | 172/19:54:00 | 172/20:21:00 | 8:26 | 8:48
2018/144 | 2018-05-24 | 142/21:21:00 | 142/21:48:00 | 22:58 | 23:16
2018/115 | 2018-04-25 | 113/21:52:00 | 113/22:19:00 | 15:05 | 15:23
2018/086 | 2018-03-27 | 084/20:44:00 | 084/21:11:00 | 7:13 | 7:33
2018/056 | 2018-02-25 | 054/20:31:00 | 054/20:58:00 | 23:26 | 23:47
2018/027 | 2018-01-27 | 025/21:02:00 | 025/21:29:00 | 15:45 | 16:03
2017/363 | 2017-12-29 | 361/21:33:00 | 361/22:00:00 | 4:52 | 5:07
2017/333 | 2017-11-29 | 331/21:21:00 | 331/21:48:00 | 14:44 | 15:02
2017/304 | 2017-10-31 | 302/20:12:00 | 302/20:39:00 | 5:21 | 5:48
2017/274 | 2017-10-01 | 272/21:39:00 | 272/22:06:00 | 4:41 | 17:12
2017/244 | 2017-09-01 | 242/19:48:00 | 242/20:15:00 | 11:36 | 12:07
2017/214 | 2017-08-02 | 212/21:14:00 | 212/21:41:00 | 19:38 | 20:09
2017/185 | 2017-07-04 | 183/20:06:00 | 183/20:33:00 | 3:40 | 4:08
2017/155 | 2017-06-04 | 153/19:54:00 | 153/20:21:00 | 13:18 | 13:41
2017/126 | 2017-05-06 | 124/20:25:00 | 124/20:52:00 | 0:30 | 0:51
2017/096 | 2017-04-06 | 094/20:13:00 | 094/20:40:00 | 13:20 | 13:42
2017/067 | 2017-03-08 | 065/20:44:00 | 065/21:11:00 | 3:52 | 4:15
2017/037 | 2017-02-06 | 035/20:31:00 | 035/20:58:00 | 20:08 | 20:30
2017/008 | 2017-01-08 | 006/21:02:00 | 006/21:29:00 | 12:30 | 12:47
2016/345 | 2016-12-10 | 343/21:33:00 | 343/22:00:00 | 1:42 | 1:56
2016/315 | 2016-11-10 | 313/21:20:00 | 313/21:47:00 | 18:02 | 18:24
2016/286 | 2016-10-12 | 284/20:12:00 | 284/20:39:00 | 10:18 | 10:46
2016/256 | 2016-09-12 | 254/20:00:00 | 254/20:27:00 | 11:48 | 12:18
2016/226 | 2016-08-13 | 224/19:48:00 | 224/20:15:00 | 21:29 | 22:00
2016/197 | 2016-07-15 | 195/20:19:00 | 195/20:46:00 | 5:32 | 6:01
2016/167 | 2016-06-15 | 165/20:06:00 | 165/20:33:00 | 13:33 | 13:58
2016/137 | 2016-05-16 | 135/21:33:00 | 135/22:00:00 | 21:30 | 21:52
2016/108 | 2016-04-17 | 106/20:26:00 | 106/20:53:00 | 5:24 | 5:45
2016/078 | 2016-03-18 | 076/21:52:00 | 076/22:19:00 | 14:57 | 15:19
2016/049 | 2016-02-18 | 047/20:44:00 | 047/21:11:00 | 2:13 | 2:35
2016/019 | 2016-01-19 | 017/20:31:00 | 017/20:58:00 | 16:53 | 17:12
2015/355 | 2015-12-21 | 353/21:02:00 | 353/21:29:00 | No spacecraft roll
2015/325 | 2015-11-21 | 323/20:50:00 | 323/21:17:00 | 22:28 | 22:46
2015/296 | 2015-10-23 | 294/21:21:00 | 294/21:48:00 | 16:25 | 16:50
2015/267 | 2015-09-24 | 265/20:13:00 | 265/20:40:00 | 5:25 | 5:53
2015/237 | 2015-08-25 | 235/20:00:00 | 235/20:27:00 | 16:46 | 17:16
2015/208 | 2015-07-27 | 206/20:31:00 | 206/20:58:00 | 4:06 | 4:36
2015/178 | 2015-06-27 | 176/20:20:00 | 176/20:47:00 | 15:26 | 15:53
2015/148 | 2015-05-28 | 146/20:07:00 | 146/20:34:00 | 23:25 | 23:49
2015/117 | 2015-04-27 | 117/10:45:00 | 117/11:12:00 | Canceled
2015/089 | 2015-03-30 | 087/10:32:00 | 087/10:59:00 | 11:55 | 12:16
2015/059 | 2015-02-28 | 10:08 | 10:35 | 18:13 | 18:35
2015/29-30 | 29-30-Jan | 23:07 | 23:34 | 2:13 | 2:34
2014/365 | 2014-12-31 | 20:19 | 20:46 | No spacecraft roll
2014/336 | 2014-12-02 | 20:50 | 21:17 | No spacecraft roll
2014/306 | 2014-11-02 | 10:44 | 11:11 | 19:13 | 19:34
2014/277 | 2014-10-04 | 11:15 | 11:42 | 13:08 | 13:35
2014/247-248 | 4-5 Sep | 22:35 | 23:02 | 3:47 | 4:16
2014/218 | 2014-08-06 | 18:09 | 18:36 | 20:04 | 20:34
2014/189 | 2014-07-08 | 7:08 | 7:35 | 9:03 | 9:32
2014/159 | 2014-06-08 | 20:07 | 20:34 | 22:01 | 22:26
2014/129-130 | 9-10 May | 23:13 | 23:38 | 7:38 | 7:58
2014/100 | 2014-04-10 | 10:33 | 11:00 | 13:25 | 14:25
2014/070 | 2014-03-11 | 21:52 | 22:19 | 23:24 | 23:47
2014/040 | 2014-02-09 | 21:40 | 22:07 | 23:07 | 23:29
2014/010-011 | 10-11 Jan | 23:06 | 23:33 | 3:52 | 4:11
2013/346 | 2013-12-12 | 10:26 | 10:53 | 15:22 | 15:35
2013/316 | 2013-11-12 | 21:46 | 22:13 | 23:39 | 23:54
2013/287 | 2013-10-14 | 10:44 | 11:11 | 17:33 | 17:59
2013/258 | 2013-09-15 | 6:18 | 6:45 | 8:13 | 8:41
2013/228 | 16-17 Aug | 22:35 | 23:02 | 0:30 | 1:01
2013/199 | 2013-07-18 | 9:55 | 10:22 | 20:04 | 20:35
2013/170 | 2013-06-19 | 10:26 | 10:53 | 12:20 | 12:49
2013/140-141 | 20-21 May | 21:46 | 22:13 | 2:54 | 3:20
2013/111 | 2013-04-21 | 10:45 | 11:12 | 14:06 | 14:29
2013/081 | 2013-03-22 | 20:26 | 20:53 | 21:56 | 22:21
2013/051-052 | 20-21 Feb | 23:31 | 23:58 | 2:34 | 3:00
2013/023 | 2013-01-23 | 19:48 | 20:15 | no roll (AMSR-E concerns)
2012/358 | 2012-12-23 | 20:31 | 20:58 | no roll (AMSR-E concerns)
2012/328 | 2012-11-23 | 10:25 | 10:52 | 18:46 | 19:00
2012/298–299 | 24–25 Oct | 23:24 | 23:51 | 1:17 | 1:39
2012/269 | 2012-09-25 | 10:44 | 11:11 | 14:16 | 14:45
2012/181 | 2012-06-29 | 9:55 | 10:22 | 17:59 | 19:09
2012/152 | 2012-05-31 | 10:26 | 10:53 | 12:21 | 12:46
2012/122-123 | 1-2 May | 23:26 | 23:53 | 6:10 | 6:32
2012/093 | 2012-04-02 | 10:45 | 11:12 | 18:56 | 19:18
2012/063-064 | 3–4 Mar | 22:04 | 22:31 | 2:49 | 3:13
2012/034 | 2012-02-03 | 7:44 | 8:11 | 9:08 | 9:33
2012/004 | 2012-01-04 | 10:48 | 11:15 | 12:15 | 12:36
2011/339 | 2011-12-05 | 10:37 | 11:04 | 18:50 | 19:04
2011/309 | 2011-11-05 | 10:21 | 10:48 | 18:54 | 19:12
2011/280 | 2011-10-07 | 9:17 | 9:44 | 11:07 | 11:36
2011/191 | 2011-07-10 | 19:17 | 19:44 | 20:46 | 21:57
2011/162 | 2011-06-11 | 9:54 | 10:21 | 16:18 | 17:45
2011/133 | 2011-05-13 | 18:40 | 19:07 | 12:17 | 12:41
2011/104 | 2011-04-14 | 7:39 | 8:06 | 6:02 | 6:23
2011/074 | 2011-03-15 | 20:38 | 21:05 | 18:57 | 19:13
2011/045 | 2011-02-14 | 21:08 | 21:35 | 6:03 | 6:29
2011/015 | 2011-01-15 | 19:17 | 19:44 | 14:03 | 14:28
2010/350 | 2010-12-16 | 20:43 | 21:10 | 18:55 | 19:11
2010/321 | 2010-11-17 | 6:24 | 6:51 | 1:37 | 1:51
2010/291 | 2010-10-18 | 7:52 | 8:52 | 6:25 | 6:51
2010/261 | 2010-09-18 | 10:57 | 11:24 | 9:32 | 10:04
2010/172 | 2010-06-21 | 19:18 | 19:45 | 21:14 | 21:45
2010/143 | 2010-05-23 | 19:49 | 20:16 | 15:08 | 15:34
2010/114 | 2010-04-24 | 8:48 | 9:15 | 10:33 | 10:54
2010/085 | 2010-03-26 | 6:02 | 6:29 | 2:36 | 2:59
2010/055 | 2010-02-24 | 19:01 | 19:28 | 17:05 | 17:32
2010/026 | 2010-01-26 | No AIRS commanding—still in Ready mode after anomaly of January 9
2009/361 | 2009-12-27 | 19:19 | 19:46 | 17:25 | 17:46
2009/332 | 2009-11-28 | 8:18 | 8:45 | 6:39 | 6:54
2009/302 | 2009-10-29 | 9:44 | 10:11 | 8:19 | 8:43
2009/272 | 2009-09-29 | 19:27 | 19:54 | 14:42 | 15:14
2009/251 | 2009-09-08 | 19:07 | 19:34 | N/A | N/A
2009/183 | 2020-07-02 | 6:22 | 6:49 | 5:01 | 5:34
2009/153 | 2009-06-02 | 21:00 | 21:27 | 22:56 | 23:24
2009/124 | 2009-05-04 | 18:19 | 18:46 | 15:06 | 15:27
2009/095 | 2009-04-05 | 8:52 | 9:19 | 7:07 | 7:30
2009/065 | 2009-03-06 | 21:50 | 22:17 | 23:13 | 23:40
2009/036 | 2009-02-05 | 20:41 | 21:08 | 15:25 | 15:58
2009/007 | 2009-01-07 | 6:22 | 6:49 | 4:24 | 4:53
2008/343 | 2008-12-08 | 20:59 | 21:26 | 22:31 | 22:52
2008/314 | 2008-11-09 | 6:38 | 7:05 | 3:36 | 4:00
2008/284 | 2008-10-10 | 21:15 | 21:42 | 19:49 | 20:23
2008/239 | 2008-08-26 | 20:07 | 20:34 | N/A | N/A
2008/197 | 2008-07-15 | 21:09 | 21:36 | N/A | N/A
2008/165 | 2008-06-13 | 19:31 | 19:58 | 16:28 | 17:03
2008/136 | 2008-05-15 | 6:49 | 7:16 | 3:43 | 4:11
2008/106 | 2008-04-15 | 19:47 | 20:14 | 14:48 | 15:16
2008/077 | 2008-03-17 | 7:07 | 7:34 | 3:35 | 4:08
2008/047 | 2008-02-16 | 21:44 | 22:11 | 19:47 | 20:21
2008/018 | 2008-01-18 | 9:04 | 9:31 | 10:23 | 10:55
2007/354 | 2007-12-20 | 19:28 | 19:55 | N/A | N/A
2007/324 | 2007-11-20 | 19:15 | 19:42 | 16:10 | 16:30
2007/306 | 2007-11-02 | 19:27 | 19:54 | N/A | N/A
2007/270 | 2007-09-27 | 19:53 | 20:20 | N/A | N/A
2007/242 | 2007-08-30 | 21:08 | 21:35 | N/A | N/A
2007/211 | 2007-07-30 | 20:12 | 20:39 | N/A | N/A
2007/176 | 2007-06-25 | 19:42 | 20:09 | 18:18 | 18:56
2007/147 | 2007-05-27 | 7:01 | 7:28 | 2:18 | 2:49
2007/117 | 2007-04-27 | 8:01 |  | 8:30 | 8:57
2007/088 | 2007-03-29 | 18:54 | 19:21
2007/058 | 2007-02-27 | 7:07 | 7:34 | 3:31 | 4:06
2007/028 | 2007-01-28 | 18:22 | 18:49 | 16:28 | 17:02
2006/364 | 2006-12-30 | 9:04 | 9:31 | 7:11 | 7:37
2006/335 | 2006-12-01 | 6:18 | 6:45 | 3:03 | 3:29
2006/305 | 2006-11-01 | 20:04 | 20:34 | 19:26
2006/187 | 2006-07-06 | 10:00 | 10:27 | 13:34 | 14:18
2006/158 | 2006-06-07 | 7:12 | 7:39 | 4:08 | 4:41
2006/128 | 2006-05-08 | 8:38 | 9:05 | 10:22 | 10:50
2006/098 | 2006-04-08 | 10:04 | 10:31 | 16:31 | 17:02
2006/068 | 2006-03-09 | 19:45 | 20:12 | 21:07 | 21:41
2006/038 & 2006/039 | Feb 7-8 | 22:50 | 23:17 | 5:06 | 5:40
2006/009 | 2006-01-09 | 10:09 | 10:36 | 14:50 | 15:18
2005/346 | 2005-12-12 | 19:38 | 20:06
2005/315 | 2005-11-11 | 19:31 | 19:58 | 20:32 | 21:01
2005/286 | 2005-10-13 | 11:48 | 12:15 | 16:06 | 16:42
2005/168 & 2005/169 | Jun 17-18 | 23:08 | 23:35 | 1:02 | 1:36
2005/139 | 2005-05-19 | 11:18 | 11:45 | 12:15 | 12:43
2005/109 | 2005-04-19 | 11:05 | 11:31 | 18:24 | 18:54
2005/079 & 2005/080 | Mar 20-21 | 23:15 | 23:42 | 0:38 | 1:13
2005/049 & 2005/050 | Feb 19-20 | 23:03 | 23:30 | 3:40 | 4:15
2005/020 | 2005-01-21 | 7:55 |  | 8:25 | 8:56
2004/356 | 2004-12-21 | 11:01 | 11:28 | 16:41 | 17:02
2004/327 | 2004-11-22 |  |  | 1:00 | 1:25
2004/326 | 2004-11-21 | 23:10 | 23:37
2004/297 | 2004-10-23 | 20:26 | 20:51 | 22:12 | 22:47
2004/180 | 2004-06-28 | 11:01 | 11:28 | 12:06 | 12:40
2004/151 | 2004-05-30 |  |  | 4:18 | 4:46
2004/150 | 2004-05-29 | 23:10 | 23:37
2004/121 | 2004-04-30 | 11:19 | 11:47 | 17:04 | 17:31
2004/092 | 2004-04-01 | 0:16 | 0:45 | 2:33 | 3:05
2004/062 | 2004-03-02 | 6:41 | N/A | 7:10 | 7:45
2004/032 | 2004-02-01 | 11:28 | N/A | 11:57 | 12:27
2004/002 | 2004-01-02 | 10:22 | 10:50 | 15:10 | 15:33
2003/337 | 2003-12-03 | N/A | N/A | 18:34 | 18:56
2003/190 | 2003-07-09 | 12:07 | 12:33 | 18:09 | 18:44
2003/161 | 2003-06-10 | 10:58 | 11:26 | 12:02 | 12:31
2003/132 | 2003-05-12 | 4:54 | 5:20 | 5:47 | 6:14
2003/112 | 2003-04-12 | 19:32 | 19:58 | 20:13 | 20:43
2003/073 | 2003-03-14 | 6:00 | 6:29 | 7:26 | 7:59
2003/043 | 2003-02-12 | 11:25 | 11:54 | 13:48 | 14:19
2003/013 | 2003-01-13 |  |  | 18:37 | 19:03
2002/348 | 2002-12-14 |  |  | 21:59 | 22:20
2002/319 | 2002-11-15 |  |  | 4:29 | 4:58
2002/289 | 2002-10-16 |  |  | 14:05 | 14:53
2002/200 | 2002-07-19 | 07:05 | 7:32 | 19:55 | 22:30

## Other
AIRS Data Outages due to special calibration tests & other causes
Year/DOY | Date | Start of outage (UT) | Return to Operate (UT) | Event
2026/110 | 2026-04-20 | 21:52 | 21:58 | Aqua data loss (AIRS)
2026/110 | 2026-04-20 | 21:27 | 21:45 | Aqua data loss (AIRS)
2026/109 | 2026-04-19 | 19:45 | 21:21 | Aqua data loss (AIRS)
2026/109 | 2026-04-19 | 19:39 | 21:15 | Aqua data loss (AMSU-A)
2026/108 | 2026-04-18 | 18:54 | 19:50 | Aqua data loss (AIRS)
2026/107 | 2026-04-17 | 13:07 | 13:07 | Aqua data loss (AIRS)
2026/100 | 2026-04-10 | 18:59 | 20:08 | Aqua data loss (AIRS)
2026/100 | 2026-04-10 | 6:59 | 6:59 | Aqua data loss (AIRS)
2026/099 | 2026-04-09 | 15:11 | 15:11 | Aqua data loss (AIRS)
2026/098 | 2026-04-08 | 7:48 | 8:08 | Aqua data loss (AIRS)
2026/098 | 2026-04-08 | 7:42 | 9:20 | Aqua data loss (AMSU-A)
2026/097 | 2026-04-07 | 16:00 | 16:01 | Aqua data loss (AIRS)
2026/095 | 2026-04-05 | 16:10 | 16:11 | Aqua data loss (AIRS)
2026/095 | 2026-04-05 | 2:35 | 2:40 | Aqua data loss (AIRS)
2026/091 | 2026-04-01 | 17:28 | 17:29 | Aqua data loss (AIRS)
2026/090 | 2026-03-31 | 11:31 | 12:42 | Aqua data loss (AIRS)
2026/088 | 2026-03-29 | 20:06 | 20:20 | Aqua data loss (AIRS)
2026/087 | 2026-03-28 | 18:56 | 19:58 | Aqua data loss (AIRS)
2026/085 | 2026-03-26 | 10:49 | 10:51 | Aqua data loss (AIRS)
2026/084 | 2026-03-25 | 19:50 | 19:50 | Aqua data loss (AIRS)
2026/077 | 2026-03-18 | 21:16 | 21:17 | Aqua data loss (AIRS)
2026/077 | 2026-03-18 | 8:05 | 8:06 | Aqua data loss (AIRS)
2026/076 | 2026-03-17 | 1:51 | 1:53 | Aqua data loss (AIRS)
2026/075 | 2026-03-16 | 20:18 | 20:20 | Aqua data loss (AIRS)
2026/075 | 2026-03-16 | 17:42 | 17:42 | Aqua data loss (AIRS)
2026/074 | 2026-03-15 | 0:36 | 0:37 | Aqua data loss (AIRS)
2026/072 | 2026-03-13 | 13:41 | 13:41 | Aqua data loss (AIRS)
2026/071 | 2026-03-12 | 19:33 | 19:50 | Aqua data loss (AIRS)
2026/069 | 2026-03-10 | 18:54 | 20:30 | Aqua data loss (AIRS)
2026/069 | 2026-03-10 | 18:48 | 20:24 | Aqua data loss (AMSU-A)
2026/069 | 2026-03-10 | 12:22 | 12:28 | Aqua data loss (AIRS)
2026/068 | 2026-03-09 | 22:38 | 22:38 | Aqua data loss (AMSU-A)
2026/068 | 2026-03-09 | 22:37 | 22:38 | Aqua data loss (AMSU-A)
2026/068 | 2026-03-09 | 6:31 | 7:08 | Aqua data loss (AIRS)
2026/067 | 2026-03-08 | 19:15 | 20:51 | Aqua data loss (AIRS)
2026/067 | 2026-03-08 | 19:09 | 20:45 | Aqua data loss (AMSU-A)
2026/067 | 2026-03-08 | 4:29 | 4:59 | Aqua data loss (AIRS)
2026/067 | 2026-03-08 | 4:23 | 6:01 | Aqua data loss (AMSU-A)
2026/064 | 2026-03-05 | 20:41 | 20:58 | Aqua data loss (AIRS)
2026/063 | 2026-03-04 | 19:41 | 20:12 | Aqua data loss (AIRS)
2026/063 | 2026-03-04 | 19:37 | 21:27 | Aqua data loss (AMSU-A)
2026/063 | 2026-03-04 | 8:06 | 8:12 | Aqua data loss (AIRS)
2026/063 | 2026-03-04 | 5:12 | 6:50 | Aqua data loss (AIRS)
2026/063 | 2026-03-04 | 5:06 | 6:44 | Aqua data loss (AMSU-A)
2026/062 | 2026-03-03 | 20:53 | 20:59 | Aqua data loss (AIRS)
2026/061 | 2026-03-02 | 20:05 | 20:07 | Aqua data loss (AIRS)
2026/057 | 2026-02-26 | 19:29 | 20:46 | Aqua data loss (AMSU-A)
2026/057 | 2026-02-26 | 19:25 | 19:53 | Aqua data loss (AIRS)
2026/056 | 2026-02-25 | 22:45 | 22:45 | Aqua data loss (AIRS)
2026/054 | 2026-02-23 | 20:11 | 20:11 | Aqua data loss (AIRS)
2026/054 | 2026-02-23 | 6:04 | 7:47 | Aqua data loss (AMSU-A)
2026/054 | 2026-02-23 | 6:01 | 7:53 | Aqua data loss (AIRS)
2026/053 | 2026-02-22 | 19:34 | 19:53 | Aqua data loss (AIRS)
2026/052 | 2026-02-21 | 9:04 | 9:36 | Aqua data loss (AIRS)
2026/048 | 2026-02-17 | 19:59 | 19:59 | Aqua data loss (AIRS)
2026/045 | 2026-02-14 | 17:26 | 17:26 | Aqua data loss (AIRS)
2026/045 | 2026-02-14 | 8:10 | 8:12 | Aqua data loss (AIRS)
2026/043 | 2026-02-12 | 19:37 | 19:37 | Aqua data loss (AIRS)
2026/040 | 2026-02-09 | 14:54 | 14:54 | Aqua data loss (AIRS)
2026/038 | 2026-02-07 | 20:05 | 20:05 | Aqua data loss (AIRS)
2026/037 | 2026-02-06 | 21:27 | 22:10 | Aqua data loss (AIRS)
2026/035 | 2026-02-04 | 6:48 | 6:56 | Aqua data loss (AIRS)
2026/034 | 2026-02-03 | 21:13 | 22:06 | Aqua data loss (AIRS)
2026/033 | 2026-02-02 | 19:53 | 19:54 | Aqua data loss (AIRS)
2026/030 | 2026-01-30 | 6:53 | 7:05 | Aqua data loss (AIRS)
2026/028 | 2026-01-28 | 0:13 | 0:13 | Aqua data loss (AIRS)
2026/027 | 2026-01-27 | 14:57 | 15:07 | Aqua data loss (AIRS)
2026/027 | 2026-01-27 | 14:50 | 16:30 | Aqua data loss (AMSU-A)
2026/026 | 2026-01-26 | 20:45 | 20:57 | Aqua data loss (AIRS)
2026/026 | 2026-01-26 | 10:44 | 11:01 | Aqua data loss (AIRS)
2026/026 | 2026-01-26 | 6:28 | 6:49 | Aqua data loss (AIRS)
2026/026 | 2026-01-26 | 4:40 | 4:52 | Aqua data loss (AIRS)
2026/022 | 2026-01-22 | 5:48 | 5:48 | Aqua data loss (AIRS)
2026/022 | 2026-01-22 | 3:37 | 5:20 | Aqua data loss (AIRS)
2026/022 | 2026-01-22 | 3:31 | 5:14 | Aqua data loss (AMSU-A)
2026/020 | 2026-01-20 | 7:50 | 7:50 | Aqua data loss (AIRS)
2026/018 | 2026-01-18 | 19:12 | 20:14 | Aqua data loss (AIRS)
2026/016 | 2026-01-16 | 20:14 | 20:14 | Aqua data loss (AIRS)
2026/015 | 2026-01-15 | 6:45 | 6:45 | Aqua data loss (AIRS)
2026/014 | 2026-01-14 | 3:26 | 5:03 | Aqua data loss (AIRS)
2026/014 | 2026-01-14 | 3:19 | 4:57 | Aqua data loss (AMSU-A)
2026/008 | 2026-01-08 | 9:06 | 9:06 | Aqua data loss (AIRS)
2026/005 | 2026-01-05 | 19:47 | 20:16 | Aqua data loss (AIRS)
2026/005 | 2026-01-05 | 2:22 | 2:29 | Aqua data loss (AIRS)
2026/004 | 2026-01-04 | 10:04 | 11:54 | Aqua data loss (AIRS)
2026/004 | 2026-01-04 | 9:58 | 11:47 | Aqua data loss (AMSU-A)
2026/003 | 2026-01-03 | 7:49 | 9:26 | Aqua data loss (AIRS)
2026/003 | 2026-01-03 | 7:43 | 9:20 | Aqua data loss (AMSU-A)
2026/002 | 2026-01-02 | 9:04 | 10:25 | Aqua data loss (AIRS)
2026/002 | 2026-01-02 | 8:58 | 10:20 | Aqua data loss (AMSU-A)
2026/001 | 2026-01-01 | 14:51 | 16:21 | Aqua data loss (AIRS)
2026/001 | 2026-01-01 | 14:45 | 16:14 | Aqua data loss (AMSU-A)
2026/001 | 2026-01-01 | 13:16 | 13:25 | Aqua data loss (AIRS)
2025/364 | 2025-12-30 | 8:47 | 10:08 | Aqua data loss (AIRS)
2025/363 | 2025-12-29 | 20:10 | 20:20 | Aqua data loss (AIRS)
2025/358 | 2025-12-24 | 14:39 | 19:29 | Aqua data loss (AIRS)
2025/358 | 2025-12-24 | 14:33 | 19:23 | Aqua data loss (AMSU-A)
2025/357 | 2025-12-23 | 4:05 | 5:43 | Aqua data loss (AIRS)
2025/357 | 2025-12-23 | 3:58 | 5:37 | Aqua data loss (AMSU-A)
2025/356 | 2025-12-22 | 14:33 | 14:33 | Aqua data loss (AIRS)
2025/353 | 2025-12-19 | 13:06 | 14:44 | Aqua data loss (AIRS)
2025/353 | 2025-12-19 | 13:00 | 14:37 | Aqua data loss (AMSU-A)
2025/353 | 2025-12-19 | 11:29 | 11:41 | Aqua data loss (AIRS)
2025/353 | 2025-12-19 | 11:22 | 12:59 | Aqua data loss (AMSU-A)
2025/349 | 2025-12-15 | 21:52 | 23:26 | Aqua data loss (AIRS)
2025/349 | 2025-12-15 | 21:45 | 23:20 | Aqua data loss (AMSU-A)
2025/347 | 2025-12-13 | 10:32 | 10:33 | Aqua data loss (AIRS)
2025/342 | 2025-12-08 | 2:37 | 2:37 | Aqua data loss (AIRS)
2025/339 | 2025-12-05 | 16:24 | 16:24 | Aqua data loss (AIRS)
2025/338 | 2025-12-04 | 14:31 | 14:31 | Aqua data loss (AIRS)
2025/338 | 2025-12-04 | 7:51 | 7:57 | Aqua data loss (AIRS)
2025/338 | 2025-12-04 | 4:54 | 5:01 | Aqua data loss (AIRS)
2025/337 | 2025-12-03 | 21:07 | 21:07 | Aqua data loss (AIRS)
2025/337 | 2025-12-03 | 20:10 | 20:10 | Aqua data loss (AIRS)
2025/337 | 2025-12-03 | 13:53 | 14:01 | Aqua data loss (AIRS)
2025/336 | 2025-12-02 | 20:08 | 21:42 | Aqua data loss (AIRS)
2025/335 | 2025-12-01 | 21:11 | 21:49 | Aqua data loss (AIRS)
2025/323 | 2025-11-19 | 16:41 | 16:41 | Aqua data loss (AIRS)
2025/320 | 2025-11-16 | 6:35 | 8:12 | Aqua data loss (AIRS)
2025/320 | 2025-11-16 | 6:29 | 8:06 | Aqua data loss (AMSU-A)
2025/319 | 2025-11-15 | 12:38 | 14:15 | Aqua data loss (AIRS)
2025/319 | 2025-11-15 | 12:31 | 14:09 | Aqua data loss (AMSU-A)
2025/318 | 2025-11-14 | 0:15 | 1:54 | Aqua data loss (AIRS)
2025/318 | 2025-11-14 | 0:09 | 1:48 | Aqua data loss (AMSU-A)
2025/317 | 2025-11-13 | 21:02 | 22:37 | Aqua data loss (AIRS)
2025/317 | 2025-11-13 | 20:55 | 22:31 | Aqua data loss (AMSU-A)
2025/317 | 2025-11-13 | 9:33 | 11:10 | Aqua data loss (AIRS)
2025/310 | 2025-11-06 | 14:43 | 14:43 | Aqua data loss (AIRS)
2025/305 | 2025-11-01 | 13:49 | 13:49 | Aqua data loss (AIRS)
2025/298 | 2025-10-25 | 13:21 | 13:25 | Aqua data loss (AIRS)
2025/291 | 2025-10-18 | 16:47 | 16:47 | Aqua data loss (AIRS)
2025/290 | 2025-10-17 | 23:17 | 0:31 | Aqua data loss (AIRS)
2025/290 | 2025-10-17 | 23:11 | 0:49 | Aqua data loss (AMSU-A)
2025/290 | 2025-10-17 | 14:26 | 15:08 | Aqua data loss (AIRS)
2025/290 | 2025-10-17 | 10:12 | 10:31 | Aqua data loss (AIRS)
2025/290 | 2025-10-17 | 10:06 | 11:56 | Aqua data loss (AMSU-A)
2025/287 | 2025-10-14 | 14:46 | 14:47 | Aqua data loss (AIRS)
2025/286 | 2025-10-13 | 15:59 | 17:35 | Aqua data loss (AIRS)
2025/286 | 2025-10-13 | 15:52 | 17:29 | Aqua data loss (AMSU-A)
2025/285 | 2025-10-12 | 6:21 | 7:02 | Aqua data loss (AIRS)
2025/276 | 2025-10-03 | 13:59 | 13:59 | Aqua data loss (AIRS)
2025/275 | 2025-10-02 | 0:32 | 0:33 | Aqua data loss (AIRS)
2025/274 | 2025-10-01 | 4:53 | 6:30 | Aqua data loss (AIRS)
2025/274 | 2025-10-01 | 4:47 | 6:24 | Aqua data loss (AMSU-A)
2025/271 | 2025-09-28 | 19:21 | 19:21 | Aqua data loss (AIRS)
2025/271 | 2025-09-28 | 19:15 | 20:34 | Aqua data loss (AMSU-A)
2025/267 | 2025-09-24 | 22:42 | 22:43 | Aqua data loss (AIRS)
2025/265 | 2025-09-22 | 15:42 | 15:42 | Aqua data loss (AIRS)
2025/265 | 2025-09-22 | 0:34 | 2:14 | Aqua data loss (AIRS)
2025/265 | 2025-09-22 | 0:28 | 2:07 | Aqua data loss (AMSU-A)
2025/260 | 2025-09-17 | 18:49 | 20:25 | Aqua data loss (AIRS)
2025/260 | 2025-09-17 | 18:43 | 20:19 | Aqua data loss (AMSU-A)
2025/256 | 2025-09-13 | 9:36 | 11:14 | Aqua data loss (AIRS)
2025/256 | 2025-09-13 | 9:30 | 11:08 | Aqua data loss (AMSU-A)
2025/252 | 2025-09-09 | 18:29 | 18:30 | Aqua data loss (AIRS)
2025/245 | 2025-09-02 | 23:46 | 0:34 | Aqua data loss (AIRS)
2025/245 | 2025-09-02 | 23:40 | 1:21 | Aqua data loss (AMSU-A)
2025/237 | 2025-08-25 | 23:31 | 0:01 | Aqua data loss (AIRS)
2025/237 | 2025-08-25 | 23:25 | 1:03 | Aqua data loss (AMSU-A)
2025/233 | 2025-08-21 | 3:57 | 4:38 | Aqua data loss (AIRS)
2025/230 | 2025-08-18 | 23:55 | 1:33 | Aqua data loss (AIRS)
2025/230 | 2025-08-18 | 23:49 | 1:27 | Aqua data loss (AMSU-A)
2025/230 | 2025-08-18 | 20:39 | 20:51 | Aqua data loss (AIRS)
2025/226 | 2025-08-14 | 19:09 | 19:09 | Aqua data loss (AIRS)
2025/225 | 2025-08-13 | 19:45 | 19:45 | Aqua data loss (AIRS)
2025/223 | 2025-08-11 | 8:00 | 8:00 | Aqua data loss (AIRS)
2025/219 | 2025-08-07 | 11:52 | 11:59 | Aqua data loss (AMSU-A)
2025/219 | 2025-08-07 | 10:16 | 10:17 | Aqua data loss (AIRS)
2025/209 | 2025-07-28 | 12:11 | 13:00 | Aqua data loss (AIRS)
2025/209 | 2025-07-28 | 12:03 | 13:42 | Aqua data loss (AMSU-A)
2025/208 | 2025-07-27 | 6:33 | 6:45 | Aqua data loss (AIRS)
2025/205 | 2025-07-24 | 9:24 | 20:18 | Aqua data loss (AIRS)
2025/205 | 2025-07-24 | 9:18 | 11:08 | Aqua data loss (AMSU-A)
2025/194 | 2025-07-13 | 4:56 | 4:56 | Aqua data loss (AIRS)
2025/184 | 2025-07-03 | 12:30 | 14:00 | Aqua data loss (AIRS)
2025/178 | 2025-06-27 | 18:14 | 18:18 | Aqua data loss (AIRS)
2025/177 | 2025-06-26 | 4:33 | 4:34 | Aqua data loss (AIRS)
2025/165 | 2025-06-14 | 23:47 | 23:48 | Aqua data loss (AIRS)
2025/157 | 2025-06-06 | 23:40 | 23:40 | Aqua data loss (AIRS)
2025/155 | 2025-06-04 | 19:40 | 21:05 | Aqua data loss (AIRS)
2025/155 | 2025-06-04 | 19:34 | 21:10 | Aqua data loss (AMSU-A)
2025/151 | 2025-05-31 | 6:06 | 6:08 | Aqua data loss (AIRS)
2025/148 | 2025-05-28 | 3:39 | 5:18 | Aqua data loss (AIRS)
2025/148 | 2025-05-28 | 3:33 | 5:11 | Aqua data loss (AMSU-A)
2025/147 | 2025-05-27 | 17:50 | 19:24 | Aqua data loss (AIRS)
2025/147 | 2025-05-27 | 17:42 | 19:18 | Aqua data loss (AMSU-A)
2025/147 | 2025-05-27 | 16:04 | 17:50 | Aqua data loss (AIRS)
2025/147 | 2025-05-27 | 15:58 | 17:42 | Aqua data loss (AMSU-A)
2025/147 | 2025-05-27 | 9:33 | 11:07 | Aqua data loss (AIRS)
2025/146 | 2025-05-26 | 17:10 | 18:41 | Aqua data loss (AIRS)
2025/144 | 2025-05-24 | 17:32 | 18:56 | Aqua data loss (AIRS)
2025/136 | 2025-05-16 | 16:28 | 16:28 | Aqua data loss (AIRS)
2025/127 | 2025-05-07 | 21:35 | 21:37 | Aqua data loss (AMSU-A)
2025/127 | 2025-05-07 | 21:09 | 21:13 | Aqua data loss (AIRS)
2025/125 | 2025-05-05 | 21:28 | 23:02 | Aqua data loss (AIRS)
2025/125 | 2025-05-05 | 21:21 | 22:56 | Aqua data loss (AMSU-A)
2025/125 | 2025-05-05 | 13:25 | 13:51 | Aqua data loss (AIRS)
2025/125 | 2025-05-05 | 13:19 | 14:56 | Aqua data loss (AMSU-A)
2025/121 | 2025-05-01 | 8:15 | 20:15 | Aqua data loss (AIRS)
2025/119 | 2025-04-29 | 6:19 | 18:19 | Aqua data loss (AIRS)
2025/119 | 2025-04-29 | 0:00 | 0:58 | Aqua data loss (AMSU-A)
2025/118 | 2025-04-28 | 23:19 | 24:00 | Aqua data loss (AMSU-A)
2025/118 | 2025-04-28 | 23:25 | 23:34 | Aqua data loss (AIRS)
2025/088 | 2025-03-29 | 23:38 | 23:39 | Aqua data loss (AIRS)
2025/088 | 2025-03-29 | 10:26 | 10:27 | Aqua data loss (AIRS)
2025/085 | 2025-03-26 | 22:18 | 22:19 | Aqua data loss (AIRS)
2025/076 | 2025-03-17 | 20:45 | 21:28 | Aqua data loss (AIRS)
2025/072 | 2025-03-13 | 3:14 | 4:53 | Aqua data loss (HRS & LRS)
2025/071 | 2025-03-12 | 18:45 | 20:35 | Aqua data loss (HRS & LRS)
2025/069 | 2025-03-10 | 21:04 | 21:41 | Aqua data loss (AIRS)
2025/066 | 2025-03-07 | 22:11 | 22:25 | Aqua data loss (HRS & LRS)
2025/059 | 2025-02-26 | 14:22 | 14:22 | Aqua data loss (AIRS)
2025/057 | 2025-02-26 | 19:47 | 19:47 | Aqua data loss (AIRS)
2025/055 | 2025-02-24 | 17:45 | 17:46 | Aqua data loss (AIRS)
2025/053 | 2025-02-22 | 22:50 | 24:00 | Aqua data loss (HRS & LRS)
2025/049 | 2025-02-18 | 18:15 | 19:25 | Aqua data loss (AIRS)
2025/049 | 2025-02-18 | 14:21 | 14:21 | Aqua data loss (AIRS)
2025/048 | 2025-02-17 | 22:20 | 23:17 | Aqua data loss (AIRS)
2025/044 | 2025-02-13 | 17:46 | 19:25 | Aqua data loss (HRS & LRS)
2025/044 | 2025-02-13 | 16:05 | 16:33 | Aqua data loss (AIRS)
2025/044 | 2025-02-13 | 12:36 | 12:37 | Aqua data loss (AIRS)
2025/042 | 2025-02-11 | 22:42 | 22:47 | Aqua data loss (AIRS)
2025/042 | 2025-02-11 | 11:08 | 11:22 | Aqua data loss (AIRS)
2025/040 | 2025-02-09 | 17:43 | 18:23 | Aqua data loss (AIRS)
2025/040 | 2025-02-09 | 15:18 | 16:51 | Aqua data loss (AIRS)
2025/033 | 2025-02-02 | 19:36 | 19:41 | Aqua data loss (AIRS)
2025/032 | 2025-02-01 | 18:58 | 19:02 | Aqua data loss (AIRS)
2025/030 | 2025-01-30 | 7:02 | 8:49 | Aqua data loss (HRS & LRS)
2025/030 | 2025-01-30 | 5:11 | 7:02 | Aqua data loss (HRS & LRS)
2025/028 | 2025-01-28 | 22:49 | 24:00 | Aqua data loss (HRS & LRS)
2025/028 | 2025-01-28 | 8:51 | 9:46 | Aqua data loss (AIRS)
2025/027 | 2025-01-27 | 19:47 | 20:04 | Aqua data loss (HRS & LRS)
2025/025 | 2025-01-25 | 14:43 | 15:13 | Aqua data loss (AIRS)
2025/024 | 2025-01-24 | 5:34 | 5:34 | Aqua data loss (AIRS)
2025/023 | 2025-01-23 | 21:26 | 21:56 | Aqua data loss (AIRS)
2025/023 | 2025-01-23 | 6:14 | 6:14 | Aqua data loss (AIRS)
2025/022 | 2025-01-22 | 11:31 | 12:01 | Aqua data loss (HRS & LRS)
2025/018 | 2025-01-18 | 3:51 | 5:35 | Aqua data loss (HRS & LRS)
2025/007 | 2025-01-07 | 19:53 | 19:53 | Aqua data loss (AIRS)
2025/004 | 2025-01-04 | 18:58 | 19:04 | Aqua data loss (AIRS)
2025/001 | 2025-01-01 | 10:48 | 12:32 | Aqua data loss (HRS & LRS)
2024/335 | 2024-11-30 | 13:06 | 13:19 | Aqua data loss (AIRS)
2024/332 | 2024-11-27 | 0:30 | 2:24 | Aqua data loss (HRS & LRS)
2024/326 | 2024-11-21 | 18:51 | 18:58 | Aqua data loss (AIRS)
2024/324 | 2024-11-19 | 18:19 | 20:01 | Aqua data loss (HRS & LRS)
2024/319 | 2024-11-14 | 19:46 | 20:11 | Aqua data loss (HRS & LRS)
2024/313 | 2024-11-08 | 8:43 | 8:46 | Aqua data loss (AIRS)
2024/312 | 2024-11-07 | 10:12 | 10:15 | Aqua data loss (AIRS)
2024/311 | 2024-11-06 | 22:28 | 22:28 | Aqua data loss (AIRS)
2024/311 | 2024-11-06 | 7:50 | 8:04 | Aqua data loss (AIRS)
2024/310 | 2024-11-05 | 8:17 | 8:23 | Aqua data loss (AIRS)
2024/309 | 2024-11-04 | 19:54 | 20:09 | Aqua data loss (HRS & LRS)
2024/307 | 2024-11-02 | 20:33 | 20:56 | Aqua data loss (AIRS)
2024/306 | 2024-11-01 | 11:21 | 12:59 | Aqua data loss (HRS & LRS)
2024/304 | 2024-10-30 | 21:39 | 22:22 | Aqua data loss (AIRS)
2024/304 | 2024-10-30 | 11:40 | 13:17 | Aqua data loss (AIRS)
2024/304 | 2024-10-30 | 6:42 | 6:42 | Aqua data loss (AIRS)
2024/302 | 2024-10-28 | 7:33 | 7:35 | Aqua data loss (AIRS)
2024/298 | 2024-10-24 | 14:00 | 14:01 | Aqua data loss (AIRS)
2024/296 | 2024-10-22 | 12:58 | 13:02 | Aqua data loss (AIRS)
2024/296 | 2024-10-22 | 23:35 | 1:15 | Aqua data loss (AIRS)
2024/295 | 2024-10-21 | 13:50 | 15:34 | Aqua data loss (AIRS)
2024/291 | 2024-10-17 | 4:30 | 6:14 | Aqua data loss (AIRS)
2024/289 | 2024-10-15 | 18:48 | 18:58 | Aqua data loss (AIRS)
2024/289 | 2024-10-15 | 11:06 | 11:18 | Aqua data loss (AIRS)
2024/287 | 2024-10-13 | 22:43 | 23:09 | Aqua data loss (AIRS)
2024/287 | 2024-10-13 | 11:07 | 11:43 | Aqua data loss (AIRS)
2024/287 | 2024-10-13 | 9:56 | 10:02 | Aqua data loss (AIRS)
2024/286 | 2024-10-12 | 21:56 | 22:27 | Aqua data loss (AIRS)
2024/286 | 2024-10-12 | 10:26 | 11:02 | Aqua data loss (AIRS)
2024/286 | 2024-10-12 | 9:07 | 9:21 | Aqua data loss (AIRS)
2024/285 | 2024-10-11 | 21:52 | 23:28 | Aqua data loss (HRS & LRS)
2024/285 | 2024-10-11 | 19:46 | 21:52 | Aqua data loss (AIRS)
2024/285 | 2024-10-11 | 18:32 | 19:56 | Aqua data loss (HRS & LRS)
2024/285 | 2024-10-11 | 17:33 | 18:08 | Aqua data loss (AIRS)
2024/285 | 2024-10-11 | 14:42 | 15:03 | Aqua data loss (AIRS)
2024/285 | 2024-10-11 | 13:04 | 13:39 | Aqua data loss (AIRS)
2024/285 | 2024-10-11 | 11:23 | 12:00 | Aqua data loss (AIRS)
2024/285 | 2024-10-11 | 9:50 | 10:22 | Aqua data loss (AIRS)
2024/285 | 2024-10-11 | 8:31 | 8:38 | Aqua data loss (AIRS)
2024/284 | 2024-10-10 | 21:09 | 22:47 | Aqua data loss (AIRS)
2024/284 | 2024-10-10 | 21:01 | 21:09 | Aqua data loss (AIRS)
2024/284 | 2024-10-10 | 11:04 | 11:13 | Aqua data loss (AIRS)
2024/283 | 2024-10-09 | 10:40 | 12:19 | Aqua data loss (HRS & LRS)
2024/283 | 2024-10-09 | 10:22 | 10:40 | Aqua data loss (AIRS)
2024/283 | 2024-10-09 | 8:49 | 8:59 | Aqua data loss (AIRS)
2024/282 | 2024-10-08 | 22:05 | 22:22 | Aqua data loss (AIRS)
2024/282 | 2024-10-08 | 10:02 | 11:49 | Aqua data loss (AIRS)
2024/282 | 2024-10-08 | 8:45 | 10:02 | Aqua data loss (AIRS)
2024/281 | 2024-10-07 | 7:53 | 8:25 | Aqua data loss (AIRS)
2024/280 | 2024-10-06 | 22:25 | 23:36 | Aqua data loss (AIRS)
2024/280 | 2024-10-06 | 19:55 | 21:54 | Aqua data loss (AIRS)
2024/280 | 2024-10-06 | 19:33 | 19:55 | Aqua data loss (AIRS)
2024/280 | 2024-10-06 | 9:46 | 10:16 | Aqua data loss (AIRS)
2024/280 | 2024-10-06 | 8:28 | 8:39 | Aqua data loss (AIRS)
2024/279 | 2024-10-05 | 22:00 | 22:53 | Aqua data loss (AIRS)
2024/279 | 2024-10-05 | 19:38 | 21:07 | Aqua data loss (AIRS)
2024/279 | 2024-10-05 | 14:10 | 14:42 | Aqua data loss (AIRS)
2024/279 | 2024-10-05 | 12:31 | 13:04 | Aqua data loss (AIRS)
2024/279 | 2024-10-05 | 9:26 | 9:37 | Aqua data loss (AIRS)
2024/279 | 2024-10-05 | 7:48 | 8:00 | Aqua data loss (AIRS)
2024/279 | 2024-10-05 | 6:12 | 6:23 | Aqua data loss (AIRS)
2024/278 | 2024-10-04 | 7:36 | 8:49 | Aqua data loss (AIRS)
2024/272 | 2024-09-28 | 23:19 | 0:36 | Aqua data loss (AIRS)
2024/267 | 2024-09-23 | 5:27 | 5:28 | Aqua data loss (AIRS)
2024/265 | 2024-09-21 | 23:01 | 23:01 | Aqua data loss (AIRS)
2024/264 | 2024-09-20 | 21:59 | 21:59 | Aqua data loss (AIRS)
2024/245 | 2024-09-01 | 22:34 | 22:44 | Aqua data loss (AIRS)
2024/243 | 2024-08-30 | 19:36 | 19:44 | Aqua data loss (AIRS)
2024/236 | 2024-08-23 | 20:04 | 20:15 | Aqua data loss (AIRS)
2024/232 | 2024-08-19 | 18:48 | 18:49 | Aqua data loss (AIRS)
2024/230 | 2024-08-17 | 15:57 | 17:46 | Aqua data loss (HRS & LRS)
2024/228 | 2024-08-15 | 16:14 | 18:03 | Aqua data loss (HRS & LRS)
2024/227 | 2024-08-14 | 14:03 | 15:46 | Aqua data loss (HRS & LRS)
2024/207-209 | 7/25-27/2024 | 17:00 | 21:01 | OBC float test with special gain table. C9 OBC on 7/27 04:20
2024/207 | 2024-07-25 | 17:00 | 18:18 | Aqua data loss (AIRS) - WG1 engineering testing
2024/177 | 2024-06-25 | 20:52 | 20:52 | Aqua data loss (AIRS)
2024/175 | 2024-06-23 | 18:04 | 19:31 | Aqua data loss (AIRS, AMSU-A1)
2024/175 | 2024-06-23 | 11:03 | 11:31 | Aqua data loss (AIRS)
2024/175 | 2024-06-23 | 9:38 | 9:38 | Aqua data loss (AIRS)
2024/170 | 2024-06-18 | 19:29 | 19:29 | Aqua data loss (AIRS)
2024/169 | 2024-06-17 | 17:26 | 17:26 | Aqua data loss (AIRS)
2024/164 | 2024-06-12 | 22:38 | 23:16 | Aqua data loss (AIRS)
2024/164 | 2024-06-12 | 19:06 | 19:10 | Aqua data loss (AIRS)
2024/162 | 2024-06-10 | 17:49 | 17:50 | Aqua data loss (AIRS)
2024/158 | 2024-06-06 | 22:40 | 22:44 | Aqua data loss (AIRS)
2024/155 | 2024-06-03 | 10:46 | 10:54 | Aqua data loss (AIRS)
2024/153 | 2024-06-01 | 22:20 | 22:41 | Aqua data loss (AIRS)
2024/151 | 2024-05-30 | 3:27 | 3:32 | Aqua data loss (AIRS)
2024/151 | 2024-05-30 | 0:00 | 0:10 | Aqua data loss (HRS & LRS)
2024/150 | 2024-05-29 | 22:25 | 24:00 | Aqua data loss (HRS & LRS)
2024/150 | 2024-05-29 | 0:02 | 0:03 | Aqua data loss (AIRS)
2024/149 | 2024-05-28 | 16:56 | 16:56 | Aqua data loss (AIRS)
2024/149 | 2024-05-28 | 8:39 | 8:44 | Aqua data loss (AIRS)
2024/148 | 2024-05-27 | 4:29 | 7:25 | Aqua data loss (AIRS)
2024/147 | 2024-05-26 | 8:55 | 9:01 | Aqua data loss (AIRS)
2024/146 | 2024-05-25 | 10:30 | 11:16 | Aqua data loss (AIRS)
2024/145 | 2024-05-24 | 7:12 | 7:19 | Aqua data loss (AIRS)
2024/144 | 2024-05-23 | 21:40 | 23:22 | Aqua data loss (AIRS)
2024/143 | 2024-05-22 | 20:32 | 20:32 | Aqua data loss (AIRS)
2024/140 | 2024-05-19 | 17:18 | 17:20 | Aqua data loss (AIRS)
2024/139 | 2024-05-18 | 4:59 | 6:43 | Aqua data loss (HRS & LRS)
2024/135 | 2024-05-14 | 17:12 | 17:13 | Aqua data loss (AIRS)
2024/135 | 2024-05-14 | 10:36 | 10:47 | Aqua data loss (AIRS)
2024/134 | 2024-05-13 | 17:59 | 18:22 | Aqua data loss (AIRS)
2024/127 | 2024-05-06 | 3:01 | 3:01 | Aqua data loss (AIRS)
2024/125 | 2024-05-04 | 15:06 | 15:06 | Aqua data loss (AIRS)
2024/123 | 2024-05-02 | 19:11 | 19:17 | Aqua data loss (AIRS)
2024/121 | 2024-04-30 | 20:43 | 20:43 | Aqua data loss (AIRS)
2024/120 | 2024-04-29 | 21:35 | 21:39 | Aqua data loss (AIRS)
2024/116 | 2024-04-25 | 18:56 | 18:56 | Aqua data loss (AIRS)
2024/116 | 2024-04-25 | 1:49 | 1:49 | Aqua data loss (AIRS)
2024/115 | 2024-04-24 | 18:28 | 19:33 | Aqua data loss (AIRS)
2024/114 | 2024-04-23 | 0:54 | 2:41 | Aqua data loss (HRS & LRS)
2024/111 | 2024-04-20 | 22:57 | 22:58 | Aqua data loss (AIRS)
2024/111 | 2024-04-20 | 17:18 | 18:14 | Aqua data loss (AIRS)
2024/110 | 2024-04-19 | 22:12 | 22:45 | Aqua data loss (AIRS)
2024/109 | 2024-04-18 | 18:39 | 18:55 | Aqua data loss (AIRS)
2024/108 | 2024-04-17 | 16:13 | 16:13 | Aqua data loss (AIRS)
2024/108 | 2024-04-17 | 7:32 | 7:33 | Aqua data loss (AIRS)
2024/106 | 2024-04-15 | 19:24 | 20:37 | Aqua data loss (AIRS)
2024/102 | 2024-04-11 | 17:57 | 19:00 | Aqua data loss (AIRS)
2024/089 | 2024-03-29 | 16:03 | 16:03 | Aqua data loss (AIRS)
2024/088 | 2024-03-28 | 6:59 | 8:09 | Aqua data loss (AIRS)
2024/087 | 2024-03-27 | 18:06 | 18:29 | Aqua data loss (AIRS)
2024/087 | 2024-03-27 | 6:47 | 7:05 | Aqua data loss (AIRS)
2024/086 | 2024-03-26 | 22:25 | 22:26 | Aqua data loss (AIRS)
2024/085 | 2024-03-25 | 0:41 | 9:05 | Aqua data loss (HRS & LRS)
2024/084 | 2024-03-24 | 13:29 | 15:00 | Aqua data loss (HRS & LRS)
2024/084 | 2024-03-24 | 0:05 | 10:02 | Aqua data loss (AIRS, AMSU-A1)
2024/083 | 2024-03-23 | 0:58 | 9:22 | Aqua data loss (AIRS, AMSU-A1)
2024/080 | 2024-03-20 | 8:56 | 8:56 | Aqua data loss (AIRS, AMSU-A1)
2024/079 | 2024-03-19 | 19:10 | 19:11 | Aqua data loss (AIRS)
2024/079 | 2024-03-19 | 8:15 | 9:53 | Aqua data loss (HRS & LRS)
2024/077 | 2024-03-17 | 0:06 | 2:02 | Aqua data loss (HRS & LRS)
2024/074 | 2024-03-14 | 19:42 | 20:06 | Aqua data loss (AIRS)
2024/071 | 2024-03-11 | 20:08 | 20:32 | Aqua data loss (AIRS)
2024/066 | 2024-03-06 | 14:05 | 14:05 | Aqua data loss (AIRS)
2024/065 | 2024-03-05 | 15:44 | 15:45 | Aqua data loss (AIRS)
2024/063 | 2024-03-03 | 17:16 | 17:17 | Aqua data loss (AIRS)
2024/060 | 2024-02-29 | 19:09 | 19:29 | Aqua data loss (AIRS)
2024/060 | 2024-02-29 | 0:00 | 0:11 | Aqua data loss (AIRS)
2024/059 | 2024-02-28 | 1:30 | 2:46 | Aqua data loss (AIRS)
2024/057 | 2024-02-26 | 11:15 | 12:58 | Aqua data loss (HRS & LRS)
2024/049 | 2024-02-18 | 13:44 | 13:44 | Aqua data loss (AIRS)
2024/048 | 2024-02-17 | 14:39 | 14:39 | Aqua data loss (AIRS)
2024/042 | 2024-02-11 | 13:51 | 13:52 | Aqua data loss (AIRS)
2024/040 | 2024-02-09 | 19:32 | 19:32 | Aqua data loss (AIRS)
2024/039 | 2024-02-08 | 7:15 | 7:15 | Aqua data loss (AIRS)
2024/034 | 2024-02-03 | 12:58 | 14:40 | Aqua data loss (AIRS)
2024/033 | 2024-02-02 | 9:18 | 19:18 | Aqua data loss (AIRS, AMSU-A1)
2024/031 | 2024-02-01 | 8:37 | 12:09 | Aqua data loss (HRS & LRS)
2024/031 | 2024-01-31 | 8:12 | 9:39 | Aqua data loss (HRS & LRS)
2024/029 | 2024-01-29 | 16:26 | 18:06 | Aqua data loss (AIRS, AMSU-A1)
2024/029 | 2024-01-29 | 3:06 | 3:07 | Aqua data loss (AIRS)
2024/027 | 2024-01-27 | 3:20 | 3:21 | Aqua data loss (AIRS)
2024/024 | 2024-01-24 | 9:30 | 9:32 | Aqua data loss (AIRS)
2024/024 | 2024-01-24 | 2:51 | 2:54 | Aqua data loss (AIRS)
2024/023 | 2024-01-23 | 3:48 | 4:01 | Aqua data loss (AIRS)
2024/022 | 2024-01-22 | 4:50 | 4:56 | Aqua data loss (AIRS)
2024/021 | 2024-01-21 | 7:36 | 9:19 | Aqua data loss (HRS & LRS)
2024/020 | 2024-01-20 | 3:21 | 3:22 | Aqua data loss (AIRS)
2024/019 | 2024-01-19 | 10:35 | 10:35 | Aqua data loss (AIRS)
2024/019 | 2024-01-19 | 4:29 | 4:32 | Aqua data loss (AIRS)
2024/018 | 2024-01-18 | 8:35 | 8:42 | Aqua data loss (AIRS)
2024/017 | 2024-01-17 | 9:28 | 9:44 | Aqua data loss (AIRS)
2024/015 | 2024-01-15 | 11:13 | 11:45 | Aqua data loss (AIRS)
2024/015 | 2024-01-15 | 3:14 | 3:19 | Aqua data loss (AIRS)
2024/014 | 2024-01-14 | 18:16 | 19:19 | Aqua data loss (AIRS)
2024/014 | 2024-01-14 | 10:41 | 10:43 | Aqua data loss (AIRS)
2024/010 | 2024-01-10 | 9:44 | 16:05 | Aqua data loss (AIRS)
2024/008 | 2024-01-08 | 21:55 | 22:07 | Aqua data loss (AIRS)
2024/008 | 2024-01-08 | 20:11 | 20:38 | C7, Space view, B-side gains, not in SAA, circ. off
2024/004 | 2024-01-04 | 19:04 | 19:24 | Aqua data loss (AIRS)
2023/364 | 2023-12-30 | 13:33 | 13:33 | Aqua data loss (AIRS)
2023/363 | 2023-12-29 | 22:30 | 22:41 | Aqua data loss (AIRS)
2023/362 | 2023-12-28 | 20:35 | 22:09 | Aqua data loss (AIRS, AMSU-A1)
2023/360 | 2023-12-26 | 21:50 | 22:13 | Aqua data loss (AMSU-A1)
2023/360 | 2023-12-26 | 17:44 | 18:27 | Aqua data loss (AIRS)
2023/356 | 2023-12-22 | 19:10 | 19:10 | Aqua data loss (AIRS)
2023/353 | 2023-12-19 | 18:35 | 18:58 | Aqua data loss (AIRS)
2023/352 | 2023-12-18 | 20:59 | 21:07 | Aqua data loss (AIRS)
2023/352 | 2023-12-18 | 13:26 | 13:27 | Aqua data loss (AIRS)
2023/347 | 2023-12-13 | 19:20 | 19:25 | Aqua data loss (AIRS)
2023/345 | 2023-12-11 | 13:33 | 13:33 | Aqua data loss (AIRS)
2023/342 | 2023-12-08 | 18:44 | 18:57 | Aqua data loss (AIRS)
2023/338 | 2023-12-04 | 12:16 | 14:01 | Aqua data loss (AIRS, AMSU-A1)
2023/336 | 2023-12-02 | 20:36 | 22:10 | Aqua data loss (AIRS, AMSU-A1)
2023/332 | 2023-11-28 | 18:01 | 19:07 | Aqua data loss (AIRS)
2023/330 | 2023-11-26 | 19:14 | 19:16 | Aqua data loss (AIRS)
2023/329 | 2023-11-25 | 17:54 | 17:54 | Aqua data loss (AIRS)
2023/328 | 2023-11-24 | 19:25 | 19:25 | Aqua data loss (AIRS)
2023/327 | 2023-11-23 | 12:58 | 13:03 | Aqua data loss (AIRS)
2023/325 | 2023-11-21 | 22:58 | 23:36 | C9, OBC view, Optimum gains
2023/325 | 2023-11-21 | 18:54 | 20:02 | Aqua data loss (AIRS)
2023/325 | 2023-11-21 | 9:46 | 10:26 | C9, OBC view, B-side gains
2023/324 | 2023-11-20 | 22:16 | 22:54 | C9, Space view, Optimum gains
2023/324 | 2023-11-20 | 21:13 | 21:22 | Aqua data loss (AIRS)
2023/324 | 2023-11-20 | 9:05 | 9:45 | C9, Space view, B-side gains
2023/322 | 2023-11-18 | 0:58 | 0:58 | Aqua data loss (AIRS)
2023/319 | 2023-11-15 | 16:23 | 16:50 | C8, Space view, Optimum gains, in SAA, circ. on
2023/319 | 2023-11-15 | 7:15 | 7:55 | C9, OBC view, A-Side gains
2023/319 | 2023-11-15 | 4:16 | 4:43 | C8, Space view, B-Side gains, in SAA, circ. on
2023/318 | 2023-11-14 | 19:44 | 20:24 | C9, Space view, A-Side gains
2023/318 | 2023-11-14 | 17:19 | 17:46 | C8, Space view, A-Side gains, in SAA, circ. on
2023/318 | 2023-11-14 | 11:37 | 12:04 | C8, OBC view, Optimum gains, circ. on
2023/318 | 2023-11-14 | 9:58 | 10:25 | C8, OBC view, B-side gains, circ. on
2023/318 | 2023-11-14 | 8:19 | 8:46 | C8, OBC view, A-side gains, circ. on
2023/318 | 2023-11-14 | 6:40 | 7:07 | C8, Space view, Optimum gains, away from SAA, circ. on
2023/318 | 2023-11-14 | 3:34 | 4:01 | C7, Space view, Optimum gains, in SAA, circ. off
2023/317 | 2023-11-13 | 22:26 | 22:53 | C8, Space view, B-Side gains, away from SAA, circ. on
2023/317 | 2023-11-13 | 20:48 | 21:15 | C8, Space view, A-Side gains, away from SAA, circ. on
2023/317 | 2023-11-13 | 19:09 | 19:36 | C7, OBC view, Optimum gains, circ. off
2023/317 | 2023-11-13 | 16:38 | 17:05 | C7, Space view, B-side gains, in SAA, circ. off
2023/317 | 2023-11-13 | 14:13 | 14:40 | C7, OBC view, B-side gains, circ. off
2023/317 | 2023-11-13 | 12:34 | 13:01 | C7, OBC view, A-side gains, circ. off
2023/317 | 2023-11-13 | 12:06 | 12:06 | Aqua data loss (AIRS, AMSU-A1)
2023/317 | 2023-11-13 | 10:55 | 11:22 | C7, Space view, Optimum gains, away from SAA, circ. off
2023/317 | 2023-11-13 | 9:16 | 9:43 | C7, Space view, B-side gains, away from SAA, circ. off
2023/317 | 2023-11-13 | 9:02 | 10:58 | Aqua data loss (AIRS, AMSU-A1)
2023/317 | 2023-11-13 | 7:37 | 8:04 | C7, Space view, A-side gains, away from SAA, circ. off
2023/317 | 2023-11-13 | 4:31 | 4:58 | C7, Space view, A-side gains, in SAA, circ. Off
2023/269 | 2023-09-26 | 13:38 | 13:56 | Aqua data loss #1158
2023/210 | 2023-07-29 | 9:42 | 9:54 | Aqua data loss #1130
2021/293 | 2021-10-20 | 22:10 | 10:48 | C9, OBC view, Optimum gains
2021/293 | 2021-10-20 | 8:59 | 9:37 | C9, Space view, Optimum gains
2021/292 | 2021-10-19 | 21:26 | 22:06 | C9, OBC view, B-side gains
2021/292 | 2021-10-19 | 8:14 | 8:54 | C9, Space view, B-side gains
2021/291 | 2021-10-18 | 22:21 | 23:01 | C9, OBC view, A-side gains
2021/291 | 2021-10-18 | 9:10 | 9:50 | C9, Space view, A-side gains
2021/286 | 2021-10-13 | 22:10 | 22:37 | C8, OBC view, Optimum gains, circumvention on
2021/286 | 2021-10-13 | 8:58 | 9:25 | C8, Space view, Optimum gains, not in SAA, circ. on
2021/286 | 2021-10-13 | 4:09 | 4:36 | C8, Space view, Optimum gains, through SAA, circ. on
2021/285 | 2021-10-12 | 21:26 | 21:53 | C8, OBC view, B-side gains, circumvention on
2021/285 | 2021-10-12 | 8:15 | 8:42 | C8, Space view, B-side gains, not in SAA, circ. on
2021/285 | 2021-10-12 | 3:26 | 3:53 | C8, Space view, B-side gains, through SAA, circ. on
2021/284 | 2021-10-11 | 22:23 | 22:50 | C8, OBC view, A-side gains, circumvention on
2021/284 | 2021-10-11 | 9:11 | 9:38 | C8, Space view, A-side gains, not in SAA, circ. on
2021/284 | 2021-10-11 | 4:21 | 4:48 | C8, Space view, A-side gains, through SAA, circ. on
2021/279 | 2021-10-06 | 22:03 | 22:30 | C7, OBC view, Optimum gains, circumvention off
2021/279 | 2021-10-06 | 8:52 | 9:19 | C7, Space view, Optimum gains, not in SAA, circ. off
2021/279 | 2021-10-06 | 4:03 | 4:30 | C7, Space view, Optimum gains, through SAA, circ. off
2021/278 | 2021-10-05 | 21:20 | 21:47 | C7, OBC view, B-side gains, circumvention off
2021/278 | 2021-10-05 | 9:48 | 10:15 | C7, Space view, B-side gains, not in SAA, circ. off
2021/278 | 2021-10-05 | 3:20 | 3:47 | C7, Space view, B-side gains, through SAA, circ. off
2021/277 | 2021-10-04 | 22:17 | 22:44 | C7, OBC view, A-side gains, circumvention off
2021/277 | 2021-10-04 | 9:07 | 9:34 | C7, Space view, A-side gains, not in SAA, circ. off
2021/277 | 2021-10-04 | 4:15 | 4:42 | C7, Space view, A-side gains, through SAA, circ. off
2020/246 | 2020-09-02 | 17:11 | 19:38 | Aqua FMU reset
2019/323 | 2019-11-19 | 21:01 | 21:40 | C9, OBC view (new angle), Opt. gains, desc. node
2019/260 | 2019-09-17 | 20:22 | 21:17 | C9, Space view, B-side gains, minimum latitude
2019/259 | 2019-09-16 | 22:39 | 23:18 | C9, OBC view, Optimum gains, descending node
2019/259 | 2019-09-16 | 20:11 | 20:50 | C9, OBC view, Optimum gains, ascending node
2018/213 | 2018-08-01 | 21:33 | 22:00 | C8, OBC view, Optimum gains, circumvention on
2018/213 | 2018-08-01 | 19:54 | 20:21 | C7, OBC view, Optimum gains, circumvention off
2018/213 | 2018-08-01 | 8:22 | 8:49 | C8, OBC view, B-side gains, circumvention on
2018/212 | 2018-07-31 | 22:29 | 22:56 | C7, OBC view, B-side gains, circumvention off
2018/212 | 2018-07-31 | 9:18 | 9:45 | C8, OBC view, A-side gains, circumvention on
2018/212 | 2018-07-31 | 7:39 | 8:06 | C7, OBC view, A-side gains, circumvention off
2018/211 | 2018-07-30 | 21:46 | 22:13 | C8, Space view, Optimum gains, not in SAA, circ. on
2018/211 | 2018-07-30 | 8:35 | 9:02 | C7, Space view, Optimum gains, not in SAA, circ. off
2018/211 | 2018-07-30 | 3:39 | 4:06 | C8, Space view, Optimum gains, through SAA, circ. on
2018/206 | 2018-07-25 | 21:20 | 22:00 | C9, Space view, B-side gains
2018/206 | 2018-07-25 | 9:55 | 10:22 | C8, Space view, B-side gains, not in SAA, circ. on
2018/206 | 2018-07-25 | 3:21 | 3:48 | C7, Space view, Optimum gains, through SAA, circ. off
2018/205 | 2018-07-24 | 22:23 | 22:50 | C7, Space view, B-side gains, not in SAA, circ. off
2018/205 | 2018-07-24 | 9:12 | 9:39 | C8, Space view, A-side gains, not in SAA, circ. on
2018/205 | 2018-07-24 | 4:16 | 4:43 | C8, Space view, B-side gains, through SAA, circ. on
2018/204 | 2018-07-23 | 19:54 | 20:34 | C9, Space view, A-side gains
2018/204 | 2018-07-23 | 8:28 | 8:55 | C7, Space view, A-side gains, not in SAA, circ. off
2018/204 | 2018-07-23 | 3:33 | 4:00 | C7, Space view, B-side gains, through SAA, circ. off
2018/197 | 2018-07-16 | 3:25 | 3:53 | C8, Space view, A-side gains, through SAA, circ. on
2018/191 | 2018-07-10 | 4:02 | 4:30 | C7, Space view, A-side gains, through SAA, circ. off
2016/275 | 2016-10-01 | 20:18 | 20:45 | Guard test
2015/082 | 2015-03-23 | 19:18 | 19:24 | Gain table upload
2015/045 | 2015-02-07 | 21:26 | 21:54 | C8, Space view, Optimum gains, circumvention on
2015/045 | 2015-02-07 | 19:48 | 20:16 | C8, Space view, B-side gains, circumvention on
2015/045 | 2015-02-07 | 18:11 | 18:39 | C8, Space view, A-side gains, circumvention on
2013/161 | 2013-06-10 | 20:58 | 21:00 | New Gain table upload
2012/328 | 2012-11-23 | 9:17 | 9:45 | C8, Space view, Optimum gains, circumvention on
2012/328 | 2012-11-23 | 8:10 | 8:38 | C8, Space view, B-side gains, circumvention on
2012/328 | 2012-11-23 | 7:03 | 7:31 | C8, Space view, A-side gains, circumvention on
2012/236 | 2012-08-23 | 19:54 | 20:21 | Guard test
2012/021 | 2012-01-21 | 0:04 | 0:05 | New Gain table upload
2011/283 | 2011-10-10 | 0:04 | 0:05 | Gain table upload (Re-load of previous table)
2011/282 | 2011-10-09 | 0:04 | 0:05 | Provisional Gain table upload
2011/262 | 2011-09-19 | 21:02 | 21:29 | Guard test
2011/243 | 2011-08-31 | 11:14 | 11:41 | Guard test
2010/235 | 2010-08-23 | 20:13 | 20:40 | Guard test
2010/028 | 2010-01-28 | 6:09 | 6:36 | Guard test
2006/158 | 2006-06-07 | 3:30 |  | Data gap ending at 07:24 (about 3 hr 54 min)
2005/191 | 2005-07-10 | 16:24 |  | 88 min 53 sec ground station data loss
2005/146 | 2005-05-26 | 16:33 |  | Five-minute data gap
2005/050 | 2005-02-19 | 3:41 |  | One hour data gap
2004/184 | 2004-07-03 | 18:15 |  | 4-minute data gap
2003/323 | 2003-11-19 | 5:49 | 6:18 | Guard test. New gain table operational.
2003/322 | 2003-11-18 | 5:55 | 6:24 | Guard test
2003/321 | 2003-11-17 | 6:50 | 7:19 | Guard test
2003/320 | 2003-11-16 | 6:08 | 6:36 | Guard test
2003/318 | 2003-11-14 | 18:45 | 21:00 | Guard test prior to spectrometer heater adjustment
2003/313 | 2003-11-09 | 6:50 | 7:19 | Guard test
2003/312 | 2003-11-08 | 6:56 | 7:25 | Guard test
2003/311 | 2003-11-07 | 8:41 | 9:10 | Guard test
2003/311 | 2003-11-07 | 7:05 | 7:35 | C8, Space view, Optimum gains, circumvention on
2003/311 | 2003-11-07 | 6:05 | 6:35 | C8, Space view, B side gains, circumvention on
2003/311 | 2003-11-07 | 5:24 | 5:54 | C8, space view, A side gains, circumvention on
2003/010 | 2003-01-10 | 8:24 | 8:53 | C8, OBC view, Optimum gains, circumvention on
2003/010 | 2003-01-10 | 7:34 | 8:04 | C8, space view, Optimum gains, circumvention on
2003/010 | 2003-01-10 | 6:43 | 7:10 | Guard test. New gain table operational.
2002/326 | 2002-11-22 | 22:36 | 22:45 | Cooler set points changed
2002/325 | 2002-11-21 | 22:02 | 23:08 | Two cooler test – Cooler B compressor started
2002/324-325 | Nov 20-21 | 22:32 | 1:16 | Two cooler test – Cooler B compressor did not start
2002/296 | 2002-10-23 | 9:57 | 10:27 | C8, Space view, Optimum gains, clean orbit
2002/296 | 2002-10-23 | 8:19 | 8:49 | C8, Space view, B side gains, clean orbit
2002/296 | 2002-10-23 | 6:39 | 7:09 | C8, Space view, A side gains, clean orbit
2002/296 | 2002-10-23 | 5:25 | 5:52 | Guard test
2002/289 | 2002-10-16 | 10:20 | 12:02 | Park scanner for evaluation of correlation with gain changes
2002/210 | 2002-07-29 | 7:44 | 8:11 | Guard test
2002/199 | 2002-07-18 | 6:22 | 6:49 | Guard test
2002/198 | 2002-07-17 |  | 20:58 | Initial checkout complete, AIRS placed in Operate mode
2002/198 | 2002-07-17 | 20:11 | 20:51 | C9, OBC view